Date: _________________

PWS Name: ____________________________________________                            PWS ID #: _______________

You need to complete this report to the best of your knowledge and submit it no later than 90 days after being notified of the analytical results that triggered this report.  Explanations may need additional documentation.  Make sure all documentation includes your PWS ID# on each page.

Operational Evaluation Level exceeded	       TTHM       Level __________

HAA5        Level __________

| A. Source & Source Water Quality |
| --- |
| Have you changed the practices in getting your source water? e.g., changed well pumping depth, well rehab, changed intake depth or intake structure, changed pumping rates, pumping times or frequency, etc. |  Yes |  No |
| Have you changed/added sources? e.g., turned on emergency sources, drilled new well, changed/added purchase connection, etc. |  Yes |  No |
| Have you seen changes in source water quality? e.g., turbidity, pH, temp, alkalinity, hardness, drought conditions, heavy rain, changes in animal feed lots, agricultural practices, etc. Surface water systems should also consider algae blooms, fires in source water (protection) areas, increased filter changes or number of backwash cycles required. |  Yes |  No |
| If you answered “YES” to any of the questions above (Section A), please explain: |
| B. Treatment Operations |
| Have you changed the amount or type of disinfectant? e.g., chlorine to chloramines, changed disinfectant dosage, etc. |  Yes |  No |
| Have you changed or added locations of disinfectant points? e.g., add booster, etc. |  Yes |  No |
| Other than disinfection, have you changed or made additions to any treatment processes? |  Yes |  No |
| Have you made changes to any other chemical applications? e.g., change any chemicals (change coagulant type or filter aid), changes in application points, changing dosage of any chemical, etc. |  Yes |  No |
| If you answered “YES” to any of the questions above (Section B), please explain: |
| C. Distribution System Operations |
| Have you added additional service connections (industry or residential)? e.g., adding additional pipes or annexing additional areas of service which could change residence times |  Yes |  No |
| Have you experienced significant increases or decreases in water demand? e.g., drought restrictions, industry opening/closing, population change |  Yes |  No |
| Has additional piping created new loops or dead-ends? |  Yes |  No |
| Does your storage tank fill and drain from the bottom (potentially causing stagnation at the top)? |  Yes |  No |
| Has the residence time of your tank(s) increased or decreased? i.e., are tanks being filled/drained more or less often? |  Yes |  No |
| Have you had frequent line breaks or major construction in your distribution system? |  Yes |  No |
| Do you purchase water that has no disinfectant or a different disinfectant than what you currently use? e.g. you purchase water with chloramines and you add chlorine |  Yes |  No |
| Do you have areas where disinfectant residual levels are below the minimum regulatory requirement? |  Yes |  No |
| Have you had significant changes in chlorine demand to maintain residuals? |  Yes |  No |
| Have you changed your distribution flushing procedures? |  Yes |  No |
| Have you had any changes in treatment that occur in distribution? e.g., changes in booster chlorination or dosage? |  Yes |  No |
| Have you had an increase in customer complaints? |  Yes |  No |
| If you answered “YES” to any of the questions above (Section C), please explain: |
| D. Additional Questions |
| Do you have tank management/operational procedures? e.g., cleaning schedule, set operational levels of your tank (high and low), etc? |  Yes |  No |
| Can you allow the tank(s) to drain lower to flush out “older” water? |  Yes |  No |
| Can you reduce chlorine/chloramines dosage and still maintain required residuals in distribution? |  Yes |  No |
| Do you have a flushing program? |  Yes |  No |
| Does your purchase contract require that water being delivered meets all Federal Standards, including DBPs? |  Yes |  No |
| Does your contract allow for a flushing credit? |  Yes |  No |
| Can you work with your seller system to optimize water age, reducing DBP formations? |  Yes |  No |
| If you answered “NO” to any of the questions above (Section D), please explain: |
| E. Additional Information |
| Please explain what steps you could take to minimize future TTHM/HAA5 formations. e.g., changes in operation, treatment process, or distribution maintenance, etc. |

I certify that the information in this entire report, including any attachments, is true and accurate to the best of my knowledge. I acknowledge that any knowingly false or misleading information may be punishable under 18 USC § 1001 and other applicable laws.

Signature: _____________________________________________   Date: ______________________

Printed Name: _________________________________________   License #: ___________________

Contact Email address: _________________________ Contact Phone Number: __________________

Send the completed report to EPA Region 8 no later than 90 days after being notified of the analytical results that caused you to exceed the operational evaluation level using one of the following:

Mail:		Stage 2 DBPR Rule Manager

Mail Code: 8P-W-DW

US EPA Region 8

1595 Wynkoop Street

Denver, CO  80202-1129

Fax:		1-(877) 876-9101  Attn: Stage 2 DBPR Rule Manager

Email:	            R8DWU@epa.gov