## Std Curve Instructions
Laboratory Prepared Standard Curves
Only populate cells highlighted in yellow.
|  | *Replace indicated Sequences values in column C with your own values if necessary | [13 empty] | Individual Run |  |  |  |  | Composite
Run | Information | *Sequences | Log Sequences | CT | 1- h_ii | res | rss_i | sigma_i | r_student | outlier | Log Sequences | CT | res | res1 | *res2 | Parameter | estimate | std. | 95% LB | 95% UB | Parameter | estimate | std. | 95% LB | 95% UB
1 |  | 22698.6485 | 4.356 | 22.6451 | 0.78035 | 0.55512 | 3.8631 | 0.56739 | 1.1075 | No | 4.356 | 22.6451 | 0.31543 | 0.35421 | 0.33422 | slope | -3.5132 | 0.097279 | -3.7252 | -3.3013 | slope | -3.4932 | 0.051456 | -3.5987 | -3.3876
|  | 22698.6485 | 4.356 | 22.3289 | 0.78035 | 0.23887 | 4.1849 | 0.59054 | 0.45789 | No | 4.356 | 22.3289 | -0.0008164 | 0.037961 | 0.01797 | intercept | 37.5945 | 0.2704 | 37.0054 | 38.1837 | intercept | 37.5458 | 0.14421 | 37.25 | 37.8417
|  | 22698.6485 | 4.356 | 21.7198 | 0.78035 | -0.3702 | 4.0824 | 0.58327 | -0.71849 | No | 4.356 | 21.7198 | -0.60988 | -0.5711 | -0.5911
|  | 2404.3628 | 3.381 | 24.2435 | 0.90153 | -1.3278 | 2.3025 | 0.43804 | -3.1924 | Yes | [5 empty] | R^2 = | 0.99088 |  |  |  | R^2 = | 0.99418
|  | 2404.3628 | 3.381 | 25.8078 | 0.90153 | 0.23654 | 4.196 | 0.59132 | 0.42129 | No | 3.381 | 25.8078 | 0.07232 | 0.091519 | 0.086847
|  | 2404.3628 | 3.381 | 25.9751 | 0.90153 | 0.40381 | 4.0772 | 0.58289 | 0.72963 | No | 3.381 | 25.9751 | 0.2396 | 0.2588 | 0.25412
|  | 234.9633 | 2.371 | 29.1035 | 0.93156 | -0.074035 | 4.2521 | 0.59527 | -0.12886 | No | 2.371 | 29.1035 | -0.16008 | -0.16116 | -0.14996 | [5 empty] | ANCOVA
|  | 234.9633 | 2.371 | 29.3834 | 0.93156 | 0.2059 | 4.2125 | 0.59249 | 0.36006 | No | 2.371 | 29.3834 | 0.11986 | 0.11878 | 0.12998 | [6 empty] | RSS | SS1 | SS2 | SS3 | F | p_value | Sig. diff?
|  | 234.9633 | 2.371 | 28.8803 | 0.93156 | -0.29727 | 4.1632 | 0.58901 | -0.5229 | No | 2.371 | 28.8803 | -0.38331 | -0.38439 | -0.37319 | [5 empty] | intercept | 2.9357 | 634.5754 | 5.2568 | 2.948 | 0.10475 | 0.74889 | No
|  | 43.7522 | 1.641 | 31.8432 | 0.89275 | 0.059155 | 4.2541 | 0.59541 | 0.10515 | No | 1.641 | 31.8432 | 0.029619 | 0.013879 | 0.036546 | [5 empty] | slope | 2.9357 | 506.5023 | 41.2667 | -144.1523 | 0.13643 | 0.71496 | No
|  | 43.7522 | 1.641 | 31.6844 | 0.89275 | -0.099668 | 4.2469 | 0.5949 | -0.17732 | No | 1.641 | 31.6844 | -0.1292 | -0.14494 | -0.12228
|  | 43.7522 | 1.641 | 32.5452 | 0.89275 | 0.7612 | 3.609 | 0.54841 | 1.469 | No | 1.641 | 32.5452 | 0.73166 | 0.71592 | 0.73859
|  | 11.7761 | 1.071 | 34.3369 | 0.82714 | 0.51767 | 3.934 | 0.57257 | 0.9941 | No | 1.071 | 34.3369 | 0.53225 | 0.50506 | 0.53669
|  | 11.7761 | 1.071 | 32.9407 | 0.82714 | -0.87858 | 3.3248 | 0.52637 | -1.8353 | No | 1.071 | 32.9407 | -0.864 | -0.89118 | -0.85956
|  | 11.7761 | 1.071 | 33.8885 | 0.82714 | 0.069253 | 4.2522 | 0.59528 | 0.12792 | No | 1.071 | 33.8885 | 0.083836 | 0.05665 | 0.088274
2 |  | 22698.6485 | 4.356 | 22.5184 | 0.78035 | 0.15258 | 0.6034 | 0.22424 | 0.77027 | No | 4.356 | 22.5184 | 0.18874 | 0.15258 | 0.17194 | Parameter | estimate | std. | 95% LB | 95% UB
|  | 22698.6485 | 4.356 | 22.0866 | 0.78035 | -0.27924 | 0.53331 | 0.21081 | -1.4994 | No | 4.356 | 22.0866 | -0.24308 | -0.27924 | -0.25988 | slope | -3.4738 | 0.048172 | -3.5779 | -3.3698
|  | 22698.6485 | 4.356 | 22.4398 | 0.78035 | 0.073951 | 0.62622 | 0.22844 | 0.36646 | No | 4.356 | 22.4398 | 0.11011 | 0.073951 | 0.093305 | intercept | 37.4978 | 0.13602 | 37.2039 | 37.7917
|  | 2404.3628 | 3.381 | 25.9408 | 0.90153 | 0.188 | 0.59403 | 0.22249 | 0.88992 | No | 3.381 | 25.9408 | 0.20531 | 0.188 | 0.19221
|  | 2404.3628 | 3.381 | 25.6524 | 0.90153 | -0.10037 | 0.62205 | 0.22768 | -0.4643 | No | 3.381 | 25.6524 | -0.083063 | -0.10037 | -0.09616 | R^2 = | 0.99751
|  | 2404.3628 | 3.381 | 25.9174 | 0.90153 | 0.16456 | 0.60319 | 0.2242 | 0.77302 | No | 3.381 | 25.9174 | 0.18187 | 0.16456 | 0.16877
|  | 234.9633 | 2.371 | 28.9541 | 0.93156 | -0.30724 | 0.5319 | 0.21053 | -1.512 | No | 2.371 | 28.9541 | -0.30946 | -0.30724 | -0.31872
|  | 234.9633 | 2.371 | 29.2877 | 0.93156 | 0.026351 | 0.63248 | 0.22958 | 0.11892 | No | 2.371 | 29.2877 | 0.024133 | 0.026351 | 0.014877
|  | 234.9633 | 2.371 | 29.0048 | 0.93156 | -0.25656 | 0.56257 | 0.21652 | -1.2277 | No | 2.371 | 29.0048 | -0.25878 | -0.25656 | -0.26804
|  | 43.7522 | 1.641 | 32.0101 | 0.89275 | 0.21283 | 0.58249 | 0.22032 | 1.0224 | No | 1.641 | 32.0101 | 0.1965 | 0.21283 | 0.19002
|  | 43.7522 | 1.641 | 31.7237 | 0.89275 | -0.073571 | 0.62717 | 0.22861 | -0.3406 | No | 1.641 | 31.7237 | -0.089902 | -0.073571 | -0.096382
|  | 43.7522 | 1.641 | 32.1655 | 0.89275 | 0.36826 | 0.48132 | 0.20028 | 1.9461 | No | 1.641 | 32.1655 | 0.35193 | 0.36826 | 0.34545
|  | 11.7761 | 1.071 | 33.8586 | 0.82714 | 0.081298 | 0.62524 | 0.22826 | 0.39161 | No | 1.071 | 33.8586 | 0.053948 | 0.081298 | 0.049635
|  | 11.7761 | 1.071 | 33.4666 | 0.82714 | -0.31076 | 0.51648 | 0.20746 | -1.647 | No | 1.071 | 33.4666 | -0.33811 | -0.31076 | -0.34242
|  | 11.7761 | 1.071 | 33.8373 | 0.82714 | 0.059924 | 0.62889 | 0.22893 | 0.28782 | No | 1.071 | 33.8373 | 0.032574 | 0.059924 | 0.028261
Instructions for determining standard curve parameters for individual runs and from composite data from multiple runs:
1. For first instrument run, type run information (e.g. run date) in column B and copy and paste CT values from instrument export file to column E.
Note: Calculated Log Sequences values should appear in column D, outlier calculations should appear in columns F-J and outlier determinations should appear in column K upon entering the CT values.
Note: If cutting and pasting a block of CT data, make sure that CT values correspond to sequence copy number values in column C.
Note: If necessary, also enter your lab-specific sequence copy numbers/rxn for your own standards in column C.
Important Note: If mistakes are made in entering CT data in correct rows or if reusing a worksheet, make sure that all unused cells in column E contain the formula: =" "
2. Log Sequence and CT values should also automatically be copied from columns D & E to columns M & N and residuals should be automatically calculated in columns O and P for each row in which outlier = no.
Note: data in outlier = yes rows will automatically be excluded from residual and subsequent regression analysis (see row 8 in example above).
3. Regression analysis should be automatically performed on all non-outlier data from the run and results reported in columns T- W.
Note: Mean, standard deviation, lower 95% confidence bound and upper 95% confidence bound for slope estimate should be reported in cells T5, U5, V5 and W5, respectively.
Note: Mean, standard deviation, lower 95% confidence bound and upper 95% confidence bound for intercept estimate should be reported in cells T6, U6, V6 and W6, respectively.
Note: R-squared results should be reported in cell T8.
4. Repeat steps 1-3 for each subsequent run.
Note: Outlier, residuals and regression analyses should be calculated for each new run and regression analysis results should be reported in columns T - W as described in step 3.
Note: Residuals from the composite data analysis will be updated in column O with each new set of data.
5. As CT data for each new run is entered, a regression analysis also should be automatically performed on non-outlier composite data from all runs and results reported in rows 5 - 6, columns Z - AC.
Note: With the addition of each run, updated mean, standard deviation, lower 95% bound and upper 95% bound for composite slope estimate should be reported in cells Z5, AA5, AB5 and AC5, respectively.
Note: With the addition of each run, updated mean, standard deviation, lower 95% bound and upper 95% bound for composite intercept estimate should be reported in cells Z6, AA6, AB6 and AC6, respectively.
Note: Updated R-squared results for the composite data should be reported in cell Z8.
6. After entering CT data from each run, it is recommended to inspect the regression analysis outputs from that run in column T and the ancova analysis results for all runs in rows 13 - 14, columns Y - AF.
"Yes" in cells AF14 or AF13 indicates that there is a signficant difference (P < 0.05) in slope or intercept values, respectively, among the curves from the different runs
Guidelines for slope and R2 values are discussed in Section 9.10 in the Method.
Guidelines for intercept values are discussed in Section 9.10 in the Method but may be instrument type-dependent.
Note: Inspection of data from individual runs also may be facilitated by plotting the standard curves for each run as described below.
Note: It is recommended that ancova analysis results indicate no significant differences among all accepted standard curves and that each curve meets the guidelines indicated in Section 9.10 of the Method.
Note: If several curves are all substantially different, this could be an indication of a problem with laboratory technique, reagents or standards. See guidance in Section 9.10 in the Method.
7. Individual curves can be eliminated from the composite regression analysis by deleting the CT values in column E for that run or by overwriting them with new values from another run.
Important Note: If CT values from any individual runs are deleted, make sure to replace the now-empty cells in column E for that run with the formula: =" "
Instructions for plotting standard curves with equations from individual runs (Note: these instructions are specific for Excel, Microsoft Office 2007):
1. Copy the log sequences AND the CT values in columns D and E for the run and paste into another spreadsheet.
Note: CT data excluding outliers can be analysed in the same manner by copying log sequences and CT values in columns
M and N for the run, however, no empty rows should be copied and pasted into the new spreadsheet.
2. Click on the" Insert" tab and then on the "Scatter" icon in the toolbar and then on upper left icon
in the drop down menu (showing only data points). A chart should appear.
3. At this point it is easier to finish playing with the chart before you move it. In the "Design" tab under "Chart Tools",
which should come up automatically after creating the chart, click on the "layout 9" icon (last icon in row 3).
in the menu of icons appearing in the "Chart Layout" section of the toolbar.
4. The regression equation and R2 value should automatically appear on the chart.
Note: slope = -3.3218, intercept = 37.493 and R² = 0.9977 in the example at right.
5. You can move the equation and the R2 information by clicking on it, positioning the cursor over any of the lines
in the resulting box and dragging the box to anywhere you want it on the chart.
6. Other options: chart title - click on the default title and then highlight the text by holding down mouse button and dragging
the cursor over it and then type your own descriptive title. Use same procedure for labeling x and y axes. For (x) axis,
type Log10 sequences, and for (y) axis, type CT.

## Lab Std Curves
Laboratory Prepared Standard Curves
Only populate cells highlighted in yellow.
|  | *replace indicated Sequences values in column C with your own values if necessary | [13 empty] | Individual Run |  |  |  |  | Composite
Run | Information | *Sequences | Log Sequences | CT | 1- h_ii | res | rss_i | sigma_i | r_student | outlier | Log Sequences | CT | res | res1 | *res2 | Parameter | estimate | std. | 95% LB | 95% UB | Parameter | estimate | std. | 95% LB | 95% UB
1 |  | 22698.6485 | [13 empty] | slope | #DIV/0! | #NUM! | #DIV/0! | #DIV/0! | slope | #DIV/0! | #NUM! | #DIV/0! | #DIV/0!
|  | 22698.6485 | [13 empty] | intercept | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | intercept | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
22698.6485
|  | 2404.3628 | [13 empty] | R^2 = | #NUM! |  |  |  | R^2 = | #NUM!
2404.3628
2404.3628
|  | 234.9633 | [19 empty] | ANCOVA
|  | 234.9633 | [19 empty] | RSS | SS1 | SS2 | SS3 | F | p_value | Sig. diff?
|  | 234.9633 | [18 empty] | intercept | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
|  | 43.7522 | [18 empty] | slope | 0 | 0 | 0 | 0 | #DIV/0! | #DIV/0! | #DIV/0!
43.7522
43.7522
11.7761
11.7761
11.7761
2 |  | 22698.6485 | [13 empty] | Parameter | estimate | std. | 95% LB | 95% UB
|  | 22698.6485 | [13 empty] | slope | #DIV/0! | #NUM! | #DIV/0! | #DIV/0!
|  | 22698.6485 | [13 empty] | intercept | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2404.3628
|  | 2404.3628 | [13 empty] | R^2 = | #NUM!
2404.3628
234.9633
234.9633
234.9633
43.7522
43.7522
43.7522
11.7761
11.7761
11.7761
3 |  | 22698.6485 | [13 empty] | Parameter | estimate | std. | 95% LB | 95% UB
|  | 22698.6485 | [13 empty] | slope | #DIV/0! | #NUM! | #DIV/0! | #DIV/0!
|  | 22698.6485 | [13 empty] | intercept | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2404.3628
|  | 2404.3628 | [13 empty] | R^2 = | #NUM!
2404.3628
234.9633
234.9633
234.9633
43.7522
43.7522
43.7522
11.7761
11.7761
11.7761
4 |  | 22698.6485 | [13 empty] | Parameter | estimate | std. | 95% LB | 95% UB
|  | 22698.6485 | [13 empty] | slope | #DIV/0! | #NUM! | #DIV/0! | #DIV/0!
|  | 22698.6485 | [13 empty] | intercept | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2404.3628
|  | 2404.3628 | [13 empty] | R^2 = | #NUM!
2404.3628
234.9633
234.9633
234.9633
43.7522
43.7522
43.7522
11.7761
11.7761
11.7761
5 |  | 22698.6485 | [13 empty] | Parameter | estimate | std. | 95% LB | 95% UB
|  | 22698.6485 | [13 empty] | slope | #DIV/0! | #NUM! | #DIV/0! | #DIV/0!
|  | 22698.6485 | [13 empty] | intercept | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2404.3628
|  | 2404.3628 | [13 empty] | R^2 = | #NUM!
2404.3628
234.9633
234.9633
234.9633
43.7522
43.7522
43.7522
11.7761
11.7761
11.7761
6 |  | 22698.6485 | [13 empty] | Parameter | estimate | std. | 95% LB | 95% UB
|  | 22698.6485 | [13 empty] | slope | #DIV/0! | #NUM! | #DIV/0! | #DIV/0!
|  | 22698.6485 | [13 empty] | intercept | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2404.3628
|  | 2404.3628 | [13 empty] | R^2 = | #NUM!
2404.3628
234.9633
234.9633
234.9633
43.7522
43.7522
43.7522
11.7761
11.7761
11.7761
7 |  | 22698.6485 | [13 empty] | Parameter | estimate | std. | 95% LB | 95% UB
|  | 22698.6485 | [13 empty] | slope | #DIV/0! | #NUM! | #DIV/0! | #DIV/0!
|  | 22698.6485 | [13 empty] | intercept | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2404.3628
|  | 2404.3628 | [13 empty] | R^2 = | #NUM!
2404.3628
234.9633
234.9633
234.9633
43.7522
43.7522
43.7522
11.7761
11.7761
11.7761
8 |  | 22698.6485 | [13 empty] | Parameter | estimate | std. | 95% LB | 95% UB
|  | 22698.6485 | [13 empty] | slope | #DIV/0! | #NUM! | #DIV/0! | #DIV/0!
|  | 22698.6485 | [13 empty] | intercept | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2404.3628
|  | 2404.3628 | [13 empty] | R^2 = | #NUM!
2404.3628
234.9633
234.9633
234.9633
43.7522
43.7522
43.7522
11.7761
11.7761
11.7761
9 |  | 22698.6485 | [13 empty] | Parameter | estimate | std. | 95% LB | 95% UB
|  | 22698.6485 | [13 empty] | slope | #DIV/0! | #NUM! | #DIV/0! | #DIV/0!
|  | 22698.6485 | [13 empty] | intercept | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2404.3628
|  | 2404.3628 | [13 empty] | R^2 = | #NUM!
2404.3628
234.9633
234.9633
234.9633
43.7522
43.7522
43.7522
11.7761
11.7761
11.7761
10 |  | 22698.6485 | [13 empty] | Parameter | estimate | std. | 95% LB | 95% UB
|  | 22698.6485 | [13 empty] | slope | #DIV/0! | #NUM! | #DIV/0! | #DIV/0!
|  | 22698.6485 | [13 empty] | intercept | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
2404.3628
|  | 2404.3628 | [13 empty] | R^2 = | #NUM!
2404.3628
234.9633
234.9633
234.9633
43.7522
43.7522
43.7522
11.7761
11.7761
11.7761

## Initial Calibrators
|  |  | Laboratory-Prepared Calibrators |  |  | Only populate cells highlighted in yellow.
*In C4, enter 1 if undiluted extracts, enter 5 if 5-fold diluted extracts, enter 25 if 25-fold diluted extracts (all dilutions must be the same)
Run | Information | *Extract Dilution | Calibrator ID | Entero CT | Sketa (SPC) CT | mean dCT |  | *Estimated cells/ml in stock suspension: |  | * In L3 enter 1e6 (CFU/ml in lab-prepared substocks if using standard dilution protocol in Section 11.1.8 of Method), or enter CFU/Bioball from certificate of analysis
1 |  | 1 | Calib 1 |  |  |  |  | **Dilution factor to prepare calibrator sample inoculum |  | ** In L4 enter 100 (if using standard dilution protocol for lab-prepared substocks in Section 11.3.3 of Method), or enter 1 if using Bioballs
[8 empty] | Estimated cells/calibrator sample : | #DIV/0!
Calib 2
[8 empty] | Intercept value (from Lab Std Curves sheet): | #DIV/0!
|  |  | Calib 3 |  |  |  |  | Slope value (from Lab Std Curves sheet): | #DIV/0!
2 |  |  | Calib 1
Calib 2
[8 empty] | Log sequences / rxn @ avg CT: | #DIV/0!
|  |  | Calib 3 |  |  |  |  | Sequences / rxn @ avg CT: | #DIV/0!
[8 empty] | Sequences / extract: | #DIV/0!
3 |  |  | Calib 1 |  |  |  |  | Sequences / Cell or CFU : | #DIV/0!
[8 empty] | Amplification factor (based on std curve): | #DIV/0!
Calib 2
Calib 3
4 |  |  | Calib 1
Calib 2
Calib 3
5 |  |  | Calib 1
Calib 2
Calib 3
6 |  |  | Calib 1
Calib 2
Calib 3
7 |  |  | Calib 1
Calib 2
Calib 3
8 |  |  | Calib 1
Calib 2
Calib 3
9 |  |  | Calib 1
Calib 2
Calib 3
10 |  |  | Calib 1
Calib 2
Calib 3
See Method document, Section 9.11, for guidance on manually identifying outlier values in cells E4-E63, F4-F63 and G4-G63
Fraction of extract/reaction: |  | 0.0083333 | Average CT: | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | *Standard deviation: | #DIV/0! | #DIV/0! | #DIV/0! |  | * Recommended maximum standard deviation values in cells E66, F66 and G66 are 0.33
|  |  | **lower bound: | #DIV/0! | #DIV/0! | #DIV/0! |  | ** upper and lower bound values in cells E67-E68, F67-F68 and G67-G68 define acceptance range for ongoing calibrator sample values
|  |  | **upper bound: | #DIV/0! | #DIV/0! | #DIV/0!
|  |  | Entero CT | SS | df | MSS | var.comp
|  |  | Total | 0 | -1 | 0 | #DIV/0!
|  |  | Run | #DIV/0! | -1 | #DIV/0! | #DIV/0!
|  |  | Calib(Run) | #DIV/0! | 0 | #DIV/0! | #DIV/0!
|  |  | Residual | 0 | 0 | #DIV/0! | #DIV/0!
|  |  | SPC CT | SS | df | MSS | var.comp
|  |  | Total | 0 | -1 | 0 | #DIV/0!
|  |  | Run | #DIV/0! | -1 | #DIV/0! | #DIV/0!
|  |  | Calib(Run) | #DIV/0! | 0 | #DIV/0! | #DIV/0!
|  |  | Residual | 0 | 0 | #DIV/0! | #DIV/0!
|  |  | dCT | SS | df | MSS | var.comp
|  |  | Total | 0 | -1 | 0 | #DIV/0!
|  |  | Run | #DIV/0! | -1 | #DIV/0! | #DIV/0!
|  |  | Residual | #DIV/0! | 0 | #DIV/0! | #DIV/0!

## IPR
Laboratory ddCT - Initial Precision and Recovery of Reference Matrix Spike Samples
Only populate/modify cells highlighted in yellow.
Dilutions must be same as for initial calibrators | *If the IAC assay is not performed, enter zeros "0" in all cells of this spreadsheet where Entero and Sketa Ct values have been entered in the same row
Positive Controls | Entero CT | *IAC CT | Sketa CT | Entero QC | SPC QC | Calib dCT
Calibrator 1 |  |  |  | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! | #DIV/0!
Calibrator 2 |  |  |  | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! | #DIV/0!
Calibrator 3 |  |  |  | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! | #DIV/0!
avg: |  |  |  | #DIV/0! | #DIV/0! | #DIV/0!
avg+3: |  |  |  |  | #DIV/0!
Avg sequences/extract (from initial calibrator sheet): |  |  |  | #DIV/0!
Amplification Factor (from initial calibrator sheet): |  |  |  | #DIV/0!
Dilutions must be same as for positive controls | [7 empty] | Estimated Calibrator Sequences | Calibrator Sequence Equivalents (CSE) | Percent Recovery
Test Samples | Entero CT | *IAC CT | Sketa CT | dCT | Calib dCT | ddCT | Ratio Calib/Test
Reference Matrix Spike 1 |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Reference Matrix Spike 1 |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Reference Matrix Spike 2 |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Reference Matrix Spike 2 |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Reference Matrix Spike 3 |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Reference Matrix Spike 3 |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Reference Matrix Spike 4 |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Reference Matrix Spike 4 |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Reference Matrix Spike 5 |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Reference Matrix Spike 5 |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Reference Matrix Spike 6 |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Reference Matrix Spike 6 |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Reference Matrix Spike 7 |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Reference Matrix Spike 7 |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Reference Matrix Spike 8 |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Reference Matrix Spike 8 |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Reference Matrix Spike 9 |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Reference Matrix Spike 9 |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Reference Matrix Spike 10 |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Reference Matrix Spike 10 |  |  |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Calculations for mean CT's from duplicate analyses | [7 empty] | Estimated Calibrator Sequences | Calibrator Sequence Equivalents (CSE) | Percent Recovery | IPR Mean Percent Recovery | IPR Relative Percent Standard Deviation (RSD)
Test Samples | Entero CT | IAC CT | Sketa CT | dCT | Calib dCT | ddCT | Ratio Calib/Test
Reference Matrix Spike 1 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Reference Matrix Spike 2 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Reference Matrix Spike 3 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Reference Matrix Spike 4 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Reference Matrix Spike 5 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Reference Matrix Spike 6 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Reference Matrix Spike 7 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Reference Matrix Spike 8 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Reference Matrix Spike 9 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Reference Matrix Spike 10 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!

## Test Samples (AB Format)
Laboratory ddCT - PBS and Water Matrix Samples
Only populate/modify cells highlighted in yellow.
This row can be used to enter Sample Batch Information, e.g. date and location of samples, reagent lot #'s, etc.
Extract dilutions must be same as for initial calibrators | *If the IAC assay is not performed, enter zeros "0" in all cells of this spreadsheet where Entero and Sketa Ct values have been entered in the same row
Positive Controls (same run as test samples) | **At least one of the calibrator Entero and SPC Ct measurements as well as the avg dCT value must pass QC for test sample calculations to be performed
| Entero CT | *IAC CT | Sketa CT | Entero QC | Sketa QC | Calib dCT | **dCT QC
Calibrator 1 |  |  |  | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! | #DIV/0!
Calibrator 2 |  |  |  | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! | #DIV/0!
Calibrator 3 |  |  |  | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! | #DIV/0!
avg: |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
avg+3: |  |  |  |  | #DIV/0!
Avg estimated sequences/extract (from initial calibrator sheet): |  |  |  | #DIV/0! | [11 empty] | *From: Detection and Quantification Limits of EPA Enterococcus qPCR Methods, Office of Science and Technology (4303T), Office of Water, Washington, DC 20460, EPA 820-R-13-013
Amplification Factor (from initial calibrator sheet): |  |  |  | #DIV/0!
Negative Controls (same run as test samples) | *"Undetermined" Entero CT results should be substituted with "40" for Entero QC analysis
| *Entero CT | *IAC CT | Sketa CT | Entero QC | IAC QC
NTC or Method Blank 1 |  |  |  |  | fail
fail
NTC or Method Blank 2 |  |  |  |  | fail
[5 empty] | fail | [8 empty] | These values are used only for comparisons with Target Sequence Copy (TSC) limit of quantification | *Enter "1" if undiluted extract, "5" if 5x dilution, "25" if 25x dilution below |  | *If Method blanks give a quantitative result ('Yes' in row 32), corresponding test sample results may be invalid
NTC or Method Blank 3 |  |  |  |  | fail | [7 empty] | *CCE are currently the final reporting units (these values are per volume of water filtered)
fail
avg: | #DIV/0! | #DIV/0! | #DIV/0! | #NUM!
avg+1.5: |  | #DIV/0!
Enter your own water sample ID's. Extract dilutions should be same as for positive controls
[11 empty] | Estimated Calibrator Sequences/Extract | Calibrator Sequence Equivalents (CSE) | *RWQC-adjusted Calibrator Cell Equivalents (CCE) | Unadjusted CSE | *Extract Dilution | *TSC Limit of Quantification | *Reportable Quantitative Result
Test Samples (1 instrument run) | Entero CT | *IAC CT | Sketa CT | IAC QC | SPC QC | QC | dCT | Calib dCT | ddCT | Ratio Calib/Test
Method Blanks | #NUM! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | #NUM! | #NUM! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Reference Matrix Spike |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Reference Matrix Spike |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 1 ID Matrix Spike (MS) |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 1 ID Matrix Spike (MS) |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 1 ID (same ID as MS) |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 1 ID (same ID as MS) |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 2 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 2 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 3 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 3 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 4 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 4 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 5 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 5 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 6 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 6 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 7 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 7 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 8 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 8 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 9 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 9 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 10 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 10 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 11 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 11 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 12 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 12 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 13 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 13 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 14 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 14 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 15 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 15 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 16 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 16 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | *OPR and MSR calculations are only valid if same cell suspension is used for matrix spike and positive control (calibrator) samples
calculations for mean CT's from duplicate analyses | [10 empty] | Estimated Calibrator Sequences | Calibrator Sequence Equivalents (CSE) | *RWQC-adjusted Calibrator Cell Equivalents (CCE) | Unadjusted CSE | *Extract Dilution | *Limit of Quantification | *Reportable Quantitative Result | *Ongoing Percent Recovery (OPR) | *Matrix Spike Percent Recovery (MSR)
Test Samples (1 instrument run) | Entero CT | IAC CT | Sketa CT | IAC QC | SPC QC | QC | dCT | Calib dCT | ddCT | Ratio Calib/Test
Method Blanks | #NUM! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | #NUM! | #NUM! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | #DIV/0!
Reference Matrix Spike | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | #DIV/0! | #DIV/0!
Water Sample 1 ID Matrix Spike (MS) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | #DIV/0! |  | #DIV/0!
Water Sample 1 ID (same ID as MS) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | #DIV/0!
Water Sample 2 ID | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | #DIV/0!
Water Sample 3 ID | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | #DIV/0!
Water Sample 4 ID | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | #DIV/0!
Water Sample 5 ID | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | #DIV/0!
Water Sample 6 ID | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | #DIV/0!
Water Sample 7 ID | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | #DIV/0!
Water Sample 8 ID | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | #DIV/0!
Water Sample 9 ID | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | #DIV/0!
Water Sample 10 ID | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | #DIV/0!
Water Sample 11 ID | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | #DIV/0!
Water Sample 12 ID | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | #DIV/0!
Water Sample 13 ID | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | #DIV/0!
Water Sample 14 ID | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | #DIV/0!
Water Sample 15 ID | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | #DIV/0!
Water Sample 16 ID | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | #DIV/0!

## TestSamples(SmartCyclerFormat)
Laboratory ddCT - PBS and Water Matrix Samples
Only populate/modify cells highlighted in yellow.
This row can be used to enter Sample Batch Information, e.g. date and location of samples, reagent lot #'s, etc.
Extract dilutions must be same as for initial calibrators | *If the IAC assay is not performed, enter zeros "0" in all cells of this spreadsheet where Entero and Sketa Ct values have been entered in the same row
Positive Controls (separate run from test samples) | **At least one of the calibrator Entero and SPC Ct measurements as well as the avg dCT value must pass QC for test sample calculations to be performed
| Entero CT | *IAC CT | Sketa CT | Entero QC | Sketa QC | Calib dCT | **dCT QC
Calibrator 1 |  |  |  | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! | #DIV/0!
Calibrator 2 |  |  |  | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! | #DIV/0!
Calibrator 3 |  |  |  | #DIV/0! | #DIV/0!
|  |  |  | #DIV/0! | #DIV/0!
avg: |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
avg+3: |  |  |  |  | #DIV/0!
Avg estimated sequences/extract (from initial calibrator sheet): |  |  |  | #DIV/0!
Amplification Factor (from initial calibrator sheet): |  |  |  | #DIV/0! | [11 empty] | *From: Detection and Quantification Limits of EPA Enterococcus qPCR Methods, Office of Science and Technology (4303T), Office of Water, Washington, DC 20460, EPA 820-R-13-013
Negative Controls (Method Blanks run with test samples, NTC run with positive controls) | Note: for correct calculations, SmartCycler export file values of "0" in this section must be manually changed to: "40"
| Entero CT | *IAC CT | Sketa CT | Entero QC | IAC QC
NTC or Method Blank 1 |  |  |  |  | fail
fail
NTC or Method Blank 2 |  |  |  |  | fail
[5 empty] | fail | [8 empty] | These values are used only for comparisons with Target Sequence Copy (TSC) limit of quantification | *Enter "1" if undiluted extract, "5" if 5x dilution, "25" if 25x dilution below |  | *If Method blanks give a quantitative result ('Yes' in row 32), corresponding test sample results may be invalid
NTC or Method Blank 3 |  |  |  |  | fail | [7 empty] | *CCE are currently the final reporting units (values are per volume of water filtered)
fail
avg: | #DIV/0! | #DIV/0! | #DIV/0! | #NUM!
avg+1.5: |  | #DIV/0!
Enter your own water sample ID's. Extract dilutions should be same as for positive controls | Note: for correct calculations, SmartCycler export file values of "0" in this section must be manually changed to: "Undetermined"
[11 empty] | Estimated Calibrator Sequences/Extract | Calibrator Sequence Equivalents (CSE) | *RWQC-adjusted Calibrator Cell Equivalents (CCE) | Unadjusted CSE | *Extract Dilution | *TSC Limit of Quantification | *Reportable Quantitative Result
Test Samples (2 instrument runs) | Entero CT | *IAC CT | Sketa CT | IAC QC | SPC QC | QC | dCT | Calib dCT | ddCT | Ratio Calib/Test
Method Blanks | #NUM! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | #NUM! | #NUM! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Reference Matrix Spike |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Reference Matrix Spike |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 1 ID Matrix Spike (MS) |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 1 ID Matrix Spike (MS) |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 1 ID (same ID as MS) |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 1 ID (same ID as MS) |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 2 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 2 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 3 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 3 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 4 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 4 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 5 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 5 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 6 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 6 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 7 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 7 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 8 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 8 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 9 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 9 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 10 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0!
Water Sample 10 ID |  |  |  | #DIV/0! | #DIV/0! | #DIV/0! | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! |  |  | #DIV/0! | *OPR and MSR calculations are only valid if same cell suspension is used for matrix spike and positive control (calibrator) samples
Calculations for mean CT's from duplicate analyses | [10 empty] | Estimated Calibrator Sequences | Calibrator Sequence Equivalents (CSE) | *RWQC-adjusted Calibrator Cell Equivalents (CCE) | Unadjusted CSE | *Extract Dilution | *Limit of Quantification | *Reportable Quantitative Result | *Ongoing Percent Recovery (OPR) | *Matrix Spike Percent Recovery (MSR)
Test Samples | Entero CT | IAC CT | Sketa CT | IAC QC | SPC QC | QC | dCT | Calib dCT | ddCT | Ratio Calib/Test
Method Blanks | #NUM! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | #NUM! | #NUM! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | #DIV/0!
Reference Matrix Spike | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | #DIV/0! | #DIV/0!
Water Sample 1 ID Matrix Spike (MS) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | #DIV/0! |  | #DIV/0!
Water Sample 1 ID (same ID as MS) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | #DIV/0!
Water Sample 2 ID | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | #DIV/0!
Water Sample 3 ID | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | #DIV/0!
Water Sample 4 ID | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | #DIV/0!
Water Sample 5 ID | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | #DIV/0!
Water Sample 6 ID | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | #DIV/0!
Water Sample 7 ID | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | #DIV/0!
Water Sample 8 ID | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | #DIV/0!
Water Sample 9 ID | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | #DIV/0!
Water Sample 10 ID | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0 |  | #DIV/0!