## BB3 Generation Levels
Historical Capacity Change by Year, 2010-2014 (MW)
Year | Utility-Scale Solar PV | CSP | Onshore Wind | Geothermal | Hydropower
2010 | 267 | 78 | 5112 | 15 | 294
2011 | 784 | 0 | 6816 | 138 | -10
2012 | 1803 | 0 | 13131 | 147 | 47
2013 | 2847 | 410 | 1087 | 407 | 216
2014 | 3934 | 767 | 4854 | 3.5 | 158
Average | 1927 | 251 | 6200 | 142 | 141
Maximum | 3934 | 767 | 13131 | 407 | 294
Annual Net Capacity Factor Assumed for Future Performance
| Utility-Scale Solar PV | CSP | Onshore Wind | Geothermal | Hydropower
| 20.7% | 34.3% | 41.8% | 85% | 63.8%
Generation by RE Technology, Historical Capacity Change and Future Performance (MWh)
Year | Utility-Scale Solar PV | CSP | Onshore Wind | Geothermal | Hydropower | Total
Average | 3494267.64 | 754174.68 | 22702416 | 1057332 | 788032.08 | 28796222.4
Maximum | 7133600.88 | 2304589.56 | 48081520.08 | 3030522 | 1643130.72 | 62193363.24
National-Level BB3 Generation Levels (MWh)
| 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
BB3 Generation | 202219817.6495 | 213084124.7927 | 241880347.1927 | 270676569.5927 | 332869932.8327 | 395063296.0727 | 457256659.3127 | 519450022.5527 | 581643385.7927 | 643836749.0327 | 706030112.2727
BB3 Interconnection Levels - Step 1 (MWh)
Interconnection | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Eastern | 143091811.6536 | 150963492.5392 | 163946499.3272 | 181542775.2258 | 220892487.4278 | 259359053.8717 | 296942474.5577 | 333642749.4856 | 369459878.6555 | 404393862.0674 | 438444699.7213
Western | 49757695.8527 | 52370718.411 | 54374702.0489 | 60956363.4723 | 75095456.8471 | 89284304.9124 | 103522907.6684 | 117811265.1149 | 132149377.2521 | 146537244.0798 | 160974865.5982
Texas | 9370310.1431 | 9749913.8425 | 23559145.8166 | 28177430.8946 | 36881988.5579 | 46419937.2885 | 56791277.0866 | 67996007.9521 | 80034129.8851 | 92905642.8854 | 106610546.9532
BB3 Interconnection Levels - Step 2 (MWh)
Average Change in Incremental RE (MWh) | 2022-2023 | 2024-2030
Eastern | 15289641.3433 | 36700274.9279
Western | 4292822.5307 | 14288357.4466
Texas | 9213758.526 | 11204730.8655
BB3 Interconnection Levels (MWh)
Interconnection | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Eastern | 143091811.6536 | 150963492.5392 | 166253133.8825 | 181542775.2258 | 218243050.1537 | 254943325.0817 | 291643600.0096 | 328343874.9375 | 365044149.8655 | 401744424.7934 | 438444699.7213
Western | 49757695.8527 | 52370718.411 | 56663540.9416 | 60956363.4723 | 75244720.9188 | 89533078.3654 | 103821435.8119 | 118109793.2585 | 132398150.7051 | 146686508.1516 | 160974865.5982
Texas | 9370310.1431 | 9749913.8425 | 18963672.3686 | 28177430.8946 | 39382161.7601 | 50586892.6256 | 61791623.4911 | 72996354.3566 | 84201085.2222 | 95405816.0877 | 106610546.9532

## RE Capacity Change
Annual Change in Capacity (MW)
Renewable Electricity in the United States ¦ December 2014 (p. 21) ¦ http://www.nrel.gov/docs/fy15osti/62580.pdf
U.S. Renewable Electricity Nameplate Capacity Added
| Solar PV* | CSP | Wind | Geothermal | Hydropower
2010 | 267 | 78 | 5112 | 15 | 294
2011 | 784 | 0 | 6816 | 138 | -10
2012 | 1803 | 0 | 13131 | 147 | 47
2013 | 2847 | 410 | 1087 | 407 | 216
2014 | 3934 | 767 | 4854 | 3.5 | 158
Sources: EIA, GEA, LBNL, SEIA/GTM, Larry Sherwood/IREC
*Grid-connected, utiliy-scale only
Note: 2013 geothermal value is inclusive of a source change from GEA to EIA.
2014 new capacity sources:
Solar PV | "U.S. Solar Market Insight 2014 Year in Review," SEIA and GTM Research, March 2015, Available at: http://www.seia.org/research-resources/us-solar-market-insight
Solar CSP | "U.S. Solar Market Insight 2014 Year in Review," SEIA and GTM Research, March 2015, Available at: http://www.seia.org/research-resources/us-solar-market-insight
Wind | "U.S. Wind Industry Fourth Quarter 2014 Market Report," AWEA, January 2015, Available at: http://awea.files.cms-plus.com/4Q2014%20AWEA%20Market%20Report%20Public%20Version.pdf
Geothermal | “2015 Annual U.S. & Global Geothermal Power Production Report,” Geothermal Energy Association, Feb 2015, Available at: http://geo-energy.org/reports/2015/2015%20Annual%20US%20%20Global%20Geothermal%20Power%20Production%20Report%20Draft%20final.pdf
Biomass | "Energy Infrastructure Update," FERC, December 2014, Available at: https://www.ferc.gov/legal/staff-reports/2014/dec-infrastructure.pdf
Hydropower | "Energy Infrastructure Update," FERC, December 2014, Available at: https://www.ferc.gov/legal/staff-reports/2014/dec-infrastructure.pdf

## Base Case Incremental RE Gen
Incremental RE Generation from the EPA IPM Base Case (GWh)*
| 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Eastern Interconnection | 143091.8117 | 150963.4925 | 158835.1734 | 166706.8543 | 174578.5352 | 182450.2161 | 186113.1042 | 189775.9923 | 193438.8805 | 197101.7686 | 200764.6567
Western Interconnection | 49757.6959 | 52370.7184 | 54983.741 | 57596.7635 | 60209.7861 | 62822.8086 | 65380.0457 | 67937.2827 | 70494.5197 | 73051.7567 | 75608.9937
Texas Interconnection | 9370.3101 | 9749.9138 | 10129.5175 | 10509.1212 | 10888.7249 | 11268.3286 | 11268.3286 | 11268.3286 | 11268.3286 | 11268.3286 | 11268.3286
Total | 202219.8176 | 213084.1248 | 223948.4319 | 234812.7391 | 245677.0462 | 256541.3534 | 262761.4785 | 268981.6037 | 275201.7288 | 281421.8539 | 287641.9791
*Bolded generation values are from run-years; other calendar year values reflect linear interpolation. EPA IPM Base Case available in the docket.

## Regional Apportionment Weights
Incremental RE by Interconnection (MWh)*
Interconnection | 2020 | 2030
Eastern | 165133239.5576 | 449874639.8573
Western | 53558376.1803 | 165543642.6397
Texas | 20146141.3686 | 109380771.1861
*Projections from IPM analysis 'BB3: Generation Assignment,' available in the docket
Incremental RE by Interconnection (% of Total, Linearly Interpolated between 2020-2030)
Interconnection | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
Eastern | 69.2% | 68.49% | 67.78% | 67.07% | 66.36% | 65.65% | 64.94% | 64.23% | 63.52% | 62.81% | 62.1%
Western | 22.4% | 22.44% | 22.48% | 22.52% | 22.56% | 22.6% | 22.64% | 22.68% | 22.72% | 22.76% | 22.8%
Texas | 8.4% | 9.07% | 9.74% | 10.41% | 11.08% | 11.75% | 12.42% | 13.09% | 13.76% | 14.43% | 15.1%
Note: 2020 Eastern Interconnection value rounded up to 69.2% to produce a sum of 100% for all regions.