## NT_NW
North Terminal Northwest Site
DATE TIME | APM10 ug/m3 | PRESS mmHg | TEMP DEG C | WSPD m/s | WDIR deg | HZD-S deg | GUST m/s | RESSP m/s | RESDR deg | HZD-V deg
2015-12-06 | 30 | 757.6 | 0.89783 | 2.3972 | 192.8233 | 13.0161 | 4.787 | 2.3153 | 191.9723 | 12.7303
2015-12-06 01:00 | 30 | 757.1167 | 0.91658 | 3.4062 | 181.5001 | 11.3138 | 5.507 | 3.3364 | 181.1899 | 11.0857
2015-12-06 02:00 | 26 | 756.6333 | 0.91992 | 3.5249 | 185.0959 | 11.5145 | 6.147 | 3.4352 | 184.1949 | 11.1946
2015-12-06 03:00 | 25 | 756.3583 | 0.76592 | 3.2419 | 206.4336 | 12.1329 | 6.387 | 3.1722 | 206.4133 | 11.8624
2015-12-06 04:00 | 23 | 756.1417 | 0.60258 | 2.4562 | 205.1639 | 12.1182 | 4.387 | 2.3802 | 205.0315 | 11.9219
2015-12-06 05:00 | 30 | 755.7583 | 0.76042 | 2.1674 | 197.6995 | 13.6614 | 4.227 | 2.1037 | 197.6815 | 13.5255
2015-12-06 06:00 | 30 | 755.4 | 0.49325 | 2.549 | 188.2781 | 11.046 | 4.947 | 2.4826 | 187.0001 | 10.7218
2015-12-06 07:00 | 29 | 755.0833 | 0.21683 | 2.8827 | 182.4738 | 10.9696 | 5.067 | 2.8157 | 181.4764 | 10.6858
2015-12-06 08:00 | 25 | 754.8667 | 1.147 | 3.0841 | 184.65 | 12.6591 | 5.187 | 3.0124 | 184.1146 | 12.1539
2015-12-06 09:00 | 23 | 754.3417 | 3.7924 | 3.6051 | 192.8435 | 12.5938 | 6.067 | 3.4608 | 192.6325 | 12.2443
2015-12-06 10:00 | 19 | 753.875 | 6.0393 | 3.7275 | 198.8109 | 13.4773 | 6.427 | 3.5804 | 198.9005 | 12.9751
2015-12-06 11:00 | 18 | 752.7833 | 7.7847 | 3.2785 | 200.8267 | 15.466 | 5.987 | 3.1169 | 200.607 | 15.1568
2015-12-06 12:00 | 15 | 752.2083 | 8.6508 | 3.3028 | 235.5908 | 15.5487 | 5.387 | 3.1116 | 235.3588 | 14.8735
2015-12-06 13:00 | 15 | 751.9583 | 8.6492 | 2.6742 | 241.3602 | 15.5082 | 4.907 | 2.5038 | 242.2931 | 15.2066
2015-12-06 14:00 | 17 | 751.5833 | 8.2992 | 1.8784 | 205.7135 | 15.8147 | 3.388 | 1.5753 | 203.1909 | 15.0122
2015-12-06 15:00 | 21 | 751.4333 | 7.944 | 1.8297 | 174.9685 | 15.5012 | 3.348 | 1.6592 | 172.0728 | 14.6988
2015-12-06 16:00 | 25 | 751.5 | 7.2687 | 1.729 | 194.704 | 9.3137 | 2.708 | 1.6981 | 193.9564 | 9.2277
2015-12-06 17:00 | 27 | 751.7583 | 6.3587 | 1.756 | 206.6739 | 9.4547 | 2.828 | 1.708 | 206.6966 | 9.3289
2015-12-06 18:00 | 27 | 751.925 | 5.6703 | 1.7185 | 230.6673 | 9.6327 | 2.788 | 1.612 | 228.0765 | 9.5805
2015-12-06 19:00 | 54 | 751.9083 | 4.0758 | 0.89975 | 273.0137 | 9.8792 | 1.428 | 0.87867 | 273.6355 | 9.7078
2015-12-06 20:00 | 129 | 751.7417 | 3.1423 | 1.1342 | 235.2899 | 8.6628 | 1.868 | 1.0579 | 237.176 | 8.623
2015-12-06 21:00 | 59 | 751.575 | 2.3767 | 0.87042 | 270.8861 | 8.9887 | 1.668 | 0.78952 | 262.9215 | 8.6937
2015-12-06 22:00 | 106 | 751.6333 | 1.6393 | 0.5675 | 256.4474 | 9.1003 | 1.068 | 0.3242 | 259.2808 | 8.9901
2015-12-06 23:00 | 64 | 751.7167 | 1.3623 | 1.0944 | 284.5159 | 11.2836 | 2.188 | 1.0171 | 286.5768 | 10.5146
2015-12-07 | 59 | 751.4667 | -0.046167 | 0.87633 | 289.0713 | 6.8213 | 1.428 | 0.86307 | 289.8064 | 6.83
2015-12-07 01:00 | 54 | 751.4167 | 0.24975 | 0.76242 | 276.3955 | 11.0355 | 1.588 | 0.68575 | 285.8925 | 10.8164
2015-12-07 02:00 | 76 | 751.4083 | -0.10875 | 1.0132 | 257.5704 | 11.8625 | 1.748 | 0.91756 | 264.3557 | 11.3551
2015-12-07 03:00 | 48 | 751.4583 | -0.47825 | 0.63275 | 301.723 | 23.779 | 1.188 | 0.13004 | 247.4529 | 22.4284
2015-12-07 04:00 | 34 | 751.5833 | 1.7704 | 1.3302 | 354.3359 | 21.2599 | 3.987 | 1.184 | 2.4717 | 20.2952
2015-12-07 05:00 | 26 | 751.7083 | 2.8098 | 1.89 | 13.0122 | 20.3954 | 4.307 | 1.7632 | 12.6631 | 18.8095
2015-12-07 06:00 | 27 | 751.825 | 3.0918 | 1.8974 | 10.192 | 24.6902 | 4.747 | 1.7445 | 12.4083 | 22.6599
2015-12-07 07:00 | 24 | 751.9583 | 3.2727 | 1.4401 | 15.2842 | 23.2636 | 3.708 | 1.2917 | 15.4609 | 21.8534
2015-12-07 08:00 | 25 | 752.1417 | 3.7451 | 1.3402 | 56.5723 | 20.9908 | 2.708 | 1.1296 | 57.8251 | 20.4517
2015-12-07 09:00 | 27 | 752.4083 | 4.0149 | 1.0745 | 163.3171 | 37.4971 | 3.508 | 0.57458 | 152.5126 | 32.8744
2015-12-07 10:00 | 42 | 752.2583 | 4.3722 | 1.3377 | 197.8365 | 36.0536 | 3.148 | 1.0886 | 200.6816 | 30.2745
2015-12-07 11:00 | 43 | 751.6333 | 4.0849 | 2.1973 | 222.5137 | 15.6247 | 3.828 | 2.0719 | 222.8553 | 15.1612
2015-12-07 12:00 | 39 | 751.1083 | 3.6633 | 2.9346 | 213.6812 | 14.1298 | 5.027 | 2.7322 | 214.3645 | 13.8499
2015-12-07 13:00 | 37 | 750.6333 | 3.5884 | 3.0398 | 207.4482 | 15.1295 | 5.787 | 2.8094 | 207.5358 | 14.8211
2015-12-07 14:00 | 43 | 750.1417 | 3.9065 | 2.9143 | 203.0498 | 13.9744 | 5.027 | 2.8149 | 203.4773 | 13.7623
2015-12-07 15:00 | 30 | 750.075 | 3.8578 | 3.2835 | 211.715 | 12.845 | 5.427 | 3.1898 | 212.0384 | 12.5585
2015-12-07 16:00 | 28 | 749.6 | 3.6452 | 3.4433 | 207.6913 | 12.7322 | 5.627 | 3.3359 | 207.7362 | 12.4911
2015-12-07 17:00 | 29 | 749.525 | 3.5581 | 3.3633 | 203.5517 | 13.4848 | 6.227 | 3.256 | 203.6826 | 13.081
2015-12-07 18:00 | 25 | 749.6917 | 2.9507 | 3.5442 | 211.2853 | 12.5182 | 6.627 | 3.3944 | 211.2601 | 12.2532
2015-12-07 19:00 | 22 | 749.1 | 3.0472 | 4.0451 | 190.9543 | 14.0208 | 7.947 | 3.8958 | 190.049 | 13.5742
2015-12-07 20:00 | 22 | 748.5 | 3.1074 | 4.6054 | 199.0495 | 13.5174 | 10.43 | 4.458 | 199.1393 | 13.2699
2015-12-07 21:00 | 22 | 748.2 | 3.0238 | 4.2975 | 208.2744 | 14.2457 | 8.23 | 4.0952 | 208.8655 | 13.939
2015-12-07 22:00 | 25 | 747.3833 | 3.3912 | 5.127 | 189.7366 | 13.0462 | 10.07 | 4.9382 | 189.0886 | 12.6342
2015-12-07 23:00 | 25 | 747.4583 | 3.7282 | 5.4533 | 207.4195 | 13.1422 | 10.15 | 5.2894 | 207.6426 | 12.8989
2015-12-08 | 23 | 747.25 | 4.1146 | 4.5563 | 204.66 | 13.0423 | 8.75 | 4.4386 | 204.7959 | 12.7607
2015-12-08 01:00 | 34 | 746.7167 | 4.3685 | 4.1432 | 198.684 | 13.6786 | 8.19 | 4.0273 | 198.5949 | 13.4096
2015-12-08 02:00 | 26 | 746.3 | 4.3244 | 4.3124 | 197.2922 | 13.9844 | 9.07 | 4.1893 | 197.3656 | 13.6675
2015-12-08 03:00 | 21 | 745.8917 | 4.0942 | 4.6495 | 195.3908 | 13.5905 | 9.39 | 4.4972 | 195.2765 | 13.1195
2015-12-08 04:00 | 21 | 745.775 | 4.0739 | 4.1698 | 200.342 | 13.4566 | 9.47 | 4.0556 | 200.052 | 13.1555
2015-12-08 05:00 | 32 | 745.65 | 4.1288 | 4.6931 | 198.3338 | 13.9612 | 8.11 | 4.5585 | 198.2685 | 13.5352
2015-12-08 06:00 | 25 | 745.3833 | 4.1308 | 4.7138 | 197.7003 | 14.0109 | 8.91 | 4.5814 | 197.8323 | 13.5467
2015-12-08 07:00 | 20 | 745.2917 | 4.3259 | 4.7126 | 203.0173 | 13.2339 | 8.47 | 4.5844 | 202.9792 | 12.9969
2015-12-08 08:00 | 30 | 745.1167 | 4.7021 | 4.3253 | 200.5335 | 13.6232 | 7.867 | 4.2051 | 200.3647 | 13.3362
2015-12-08 09:00 | BA | 745.225 | 5.2016 | 4.6821 | 199.5596 | 13.2841 | 7.987 | 4.5532 | 199.3778 | 12.9466
2015-12-08 10:00 | BA | 745.0667 | 5.7668 | 4.736 | 201.9849 | 12.8687 | 7.467 | 4.6107 | 202.2603 | 12.4554
2015-12-08 11:00 | 31 | 744.4917 | 6.2339 | 4.366 | 206.5747 | 13.4633 | 8.39 | 4.2408 | 206.9725 | 13.0813
2015-12-08 12:00 | 32 | 743.8583 | 6.8828 | 3.8685 | 195.6837 | 15.994 | 7.107 | 3.7025 | 195.9971 | 15.5185
2015-12-08 13:00 | 27 | 743.2083 | 7.4199 | 3.9377 | 183.364 | 13.6657 | 7.547 | 3.7972 | 183.1133 | 13.134
2015-12-08 14:00 | 30 | 742.7583 | 7.6067 | 4.0362 | 185.8908 | 12.8857 | 6.947 | 3.9084 | 185.7854 | 12.2275
2015-12-08 15:00 | 21 | 742.6833 | 7.6186 | 4.118 | 184.4052 | 12.6515 | 7.347 | 3.9891 | 184.1534 | 12.191
2015-12-08 16:00 | 26 | 742.375 | 7.4332 | 3.5524 | 174.6911 | 11.7476 | 7.027 | 3.4767 | 175.239 | 11.5598
2015-12-08 17:00 | 20 | 742.25 | 7.2138 | 2.6694 | 178.3617 | 13.226 | 4.787 | 2.5926 | 178.0108 | 12.868
2015-12-08 18:00 | 22 | 741.675 | 7.167 | 2.8837 | 168.4724 | 11.0056 | 5.307 | 2.8238 | 169.0035 | 10.8042
2015-12-08 19:00 | 19 | 741.3417 | 7.1898 | 3.2542 | 180.1831 | 12.3263 | 5.667 | 3.1634 | 179.3701 | 12.1256
2015-12-08 20:00 | 37 | 741.3083 | 7.6658 | 3.4469 | 193.7582 | 13.9264 | 7.107 | 3.3465 | 193.3694 | 13.5367
2015-12-08 21:00 | 29 | 740.875 | 8.2017 | 4.6576 | 188.708 | 13.4726 | 9.31 | 4.5367 | 188.32 | 12.9872
2015-12-08 22:00 | 24 | 740.3083 | 8.3217 | 4.7887 | 178.6802 | 12.0316 | 10.63 | 4.6765 | 178.6389 | 11.6745
2015-12-08 23:00 | 43 | 739.7083 | 8.2258 | 4.3737 | 183.1998 | 11.4234 | 8.15 | 4.2869 | 182.7198 | 11.1352
2015-12-09 | 22 | 738.9583 | 8.2259 | 4.8049 | 179.8163 | 11.964 | 8.35 | 4.6992 | 179.6018 | 11.7224
2015-12-09 01:00 | 58 | 738.3917 | 8.1901 | 4.148 | 187.2166 | 13.1944 | 7.507 | 4.0411 | 186.7289 | 12.7968
2015-12-09 02:00 | 25 | 738.225 | 8.3183 | 3.46 | 193.4433 | 13.7505 | 7.227 | 3.36 | 193.1727 | 13.3377
2015-12-09 03:00 | 21 | 737.95 | 8.0723 | 3.9872 | 196.4932 | 13.9704 | 7.547 | 3.8728 | 196.6742 | 13.653
2015-12-09 04:00 | 23 | 737.75 | 7.4884 | 4.0409 | 198.0089 | 14.2152 | 6.787 | 3.9226 | 197.851 | 13.7472
2015-12-09 05:00 | 23 | 737.7083 | 6.926 | 3.5852 | 205.5415 | 12.2401 | 7.267 | 3.4892 | 205.0301 | 11.9319
2015-12-09 06:00 | 19 | 738.225 | 7.2496 | 3.76 | 230.4315 | 11.9229 | 7.747 | 3.664 | 230.3922 | 11.7233
2015-12-09 07:00 | 28 | 738.525 | 6.6068 | 3.1375 | 231.7598 | 12.381 | 5.547 | 3.064 | 231.9049 | 12.1054
2015-12-09 08:00 | 22 | 738.6917 | 6.6392 | 3.0463 | 231.9681 | 12.4535 | 5.347 | 2.97 | 232.0017 | 12.3229
2015-12-09 09:00 | 21 | 739.2 | 8.2466 | 3.6846 | 247.0706 | 13.8978 | 6.587 | 3.5612 | 246.9031 | 13.6172
2015-12-09 10:00 | 27 | 739.3417 | 9.805 | 3.7338 | 250.0808 | 15.6153 | 6.267 | 3.565 | 249.4312 | 15.2128
2015-12-09 11:00 | 22 | 738.9167 | 11.1367 | 3.5019 | 238.7915 | 17.6272 | 6.467 | 3.2766 | 237.4855 | 16.9555
2015-12-09 12:00 | 30 | 738.8 | 11.73 | 3.9133 | 232.3403 | 15.5542 | 7.547 | 3.7471 | 232.2764 | 15.0774
2015-12-09 13:00 | 23 | 738.9167 | 12.3467 | 4.1943 | 230.5132 | 14.8622 | 7.507 | 4.0351 | 230.7359 | 14.4907
2015-12-09 14:00 | 34 | 738.8333 | 12.5183 | 4.0317 | 227.8268 | 13.7787 | 6.747 | 3.8939 | 227.9103 | 13.3379
2015-12-09 15:00 | 36 | 739.475 | 11.6008 | 3.79 | 245.4282 | 13.3307 | 7.627 | 3.6657 | 245.3995 | 13.0874
2015-12-09 16:00 | 15 | 739.9083 | 10.4217 | 3.0706 | 238.9262 | 12.8665 | 5.667 | 2.989 | 239.1763 | 12.7674
2015-12-09 17:00 | 28 | 740.2083 | 9.2992 | 2.6078 | 222.5253 | 10.2922 | 4.067 | 2.5626 | 222.7953 | 10.1147
2015-12-09 18:00 | 32 | 740.6917 | 8.5808 | 2.2691 | 224.4994 | 10.6943 | 3.708 | 2.2267 | 224.3612 | 10.5773
2015-12-09 19:00 | 25 | 740.975 | 8.0226 | 2.2428 | 228.6003 | 10.7849 | 3.548 | 2.1952 | 228.4579 | 10.672
2015-12-09 20:00 | 31 | 740.9833 | 8.029 | 2.888 | 223.1762 | 11.4075 | 5.067 | 2.8275 | 223.4198 | 11.2397
2015-12-09 21:00 | 41 | 740.9417 | 7.3995 | 2.4378 | 217.051 | 11.0007 | 4.707 | 2.3857 | 216.9905 | 10.8672
2015-12-09 22:00 | 53 | 740.8083 | 6.7421 | 2.971 | 210.6168 | 9.6231 | 4.827 | 2.9283 | 210.5487 | 9.5215
2015-12-09 23:00 | 43 | 740.775 | 6.0405 | 2.3702 | 196.7851 | 9.6054 | 4.267 | 2.2681 | 196.9915 | 9.5661
2015-12-10 | 19 | 740.4333 | 5.6816 | 2.7874 | 196.9099 | 12.2556 | 4.947 | 2.6999 | 197.3491 | 12.0084
2015-12-10 01:00 | 25 | 740.1417 | 5.9897 | 3.3084 | 200.4501 | 11.2979 | 6.027 | 3.2184 | 200.2746 | 11.0299
2015-12-10 02:00 | 21 | 739.6 | 5.6638 | 3.5652 | 185.805 | 11.4772 | 6.307 | 3.4862 | 185.2964 | 11.2118
2015-12-10 03:00 | 19 | 739.05 | 6.1127 | 4.2038 | 196.2243 | 12.5715 | 7.267 | 4.0912 | 196.2906 | 12.1937
2015-12-10 04:00 | 15 | 738.7667 | 7.3708 | 4.1305 | 197.067 | 13.6156 | 8.23 | 4.0143 | 197.357 | 13.222
2015-12-10 05:00 | 15 | 738.55 | 8.245 | 4.8463 | 195.7603 | 13.5077 | 8.91 | 4.7076 | 196.1266 | 13.1623
2015-12-10 06:00 | 26 | 737.925 | 8.2892 | 4.7613 | 189.5861 | 13.4388 | 8.23 | 4.6276 | 189.0762 | 12.9272
2015-12-10 07:00 | 49 | 737.425 | 8.53 | 4.912 | 188.7569 | 13.9142 | 9.39 | 4.7642 | 188.0077 | 13.4483
2015-12-10 08:00 | 64 | 736.6167 | 9.3075 | 5.9777 | 190.1474 | 13.7411 | 12.03 | 5.795 | 189.9771 | 13.3663
2015-12-10 09:00 | 76 | 735.7583 | 10.7008 | 7.2481 | 196.293 | 14.4015 | 14.83 | 7.0205 | 196.1511 | 14.0072
2015-12-10 10:00 | 63 | 735.1667 | 12.0383 | 8.0058 | 201.4681 | 12.6914 | 15.15 | 7.8067 | 201.5197 | 12.3587
2015-12-10 11:00 | 111 | 734.475 | 13.6283 | 8.2253 | 202.9922 | 12.8524 | 16.15 | 8.018 | 203.2407 | 12.5937
2015-12-10 12:00 | 110 | 733.7167 | 14.6075 | 8.8358 | 204.467 | 12.9269 | 16.11 | 8.6158 | 204.6746 | 12.5839
2015-12-10 13:00 | 36 | 733.2167 | 14.5367 | 8.2431 | 212.2329 | 12.8925 | 15.71 | 8.0153 | 212.3929 | 12.7369
2015-12-10 14:00 | 53 | 733.1833 | 14.1117 | 8.7741 | 211.0591 | 12.7709 | 16.51 | 8.5522 | 211.1773 | 12.5875
2015-12-10 15:00 | 24 | 733.4 | 13.5817 | 7.7635 | 213.5671 | 12.3665 | 14.35 | 7.5618 | 213.6762 | 12.1382
2015-12-10 16:00 | 35 | 734.3667 | 13.2483 | 7.7082 | 241.1635 | 15.2836 | 17.54 | 7.2668 | 242.0173 | 14.7997
2015-12-10 17:00 | 13 | 735.5583 | 11.8525 | 7.1553 | 246.8495 | 16.6009 | 15.87 | 6.8502 | 247.1155 | 16.1324
2015-12-10 18:00 | 10 | 736.225 | 10.21 | 5.4946 | 241.9609 | 14.7521 | 12.07 | 5.2415 | 242.6164 | 14.3452
2015-12-10 19:00 | 9 | 736.6333 | 9.2392 | 4.9886 | 227.092 | 12.3547 | 9.15 | 4.8651 | 227.3599 | 12.1709
2015-12-10 20:00 | 13 | 736.825 | 8.7208 | 4.8087 | 219.617 | 12.6197 | 8.43 | 4.693 | 219.6437 | 12.4428
2015-12-10 21:00 | 18 | 736.7667 | 8.8558 | 5.717 | 221.4924 | 12.5804 | 9.91 | 5.5806 | 221.7517 | 12.3752
2015-12-10 22:00 | 13 | 736.8917 | 8.8242 | 5.8895 | 225.0258 | 12.9445 | 10.67 | 5.7406 | 225.3562 | 12.6693
2015-12-10 23:00 | 17 | 737.1167 | 8.2808 | 5.0651 | 228.5426 | 12.8453 | 10.19 | 4.9402 | 228.7857 | 12.6134
2015-12-11 | 13 | 737.225 | 7.7618 | 3.7821 | 216.9535 | 12.3429 | 6.627 | 3.6728 | 217.2665 | 12.0165
2015-12-11 01:00 | 15 | 737.575 | 7.4184 | 3.6589 | 211.6918 | 11.0363 | 7.147 | 3.5894 | 211.7783 | 10.8525
2015-12-11 02:00 | 13 | 737.6917 | 7.1945 | 3.6711 | 213.6015 | 11.7043 | 6.267 | 3.5865 | 213.7358 | 11.534
2015-12-11 03:00 | 12 | 737.6833 | 7.3865 | 4.037 | 223.9829 | 12.1654 | 7.227 | 3.9352 | 224.2051 | 11.9252
2015-12-11 04:00 | 19 | 738.4 | 7.4612 | 2.6261 | 250.8514 | 17.6447 | 5.547 | 2.4531 | 250.1519 | 17.3826
2015-12-11 05:00 | 15 | 739.2417 | 8.2568 | 3.8072 | 245.9842 | 14.6726 | 6.667 | 3.6787 | 246.2236 | 14.5599
2015-12-11 06:00 | 17 | 739.825 | 7.3804 | 2.9333 | 227.8404 | 11.9106 | 5.787 | 2.845 | 228.5805 | 11.7179
2015-12-11 07:00 | 20 | 740.65 | 6.8318 | 2.283 | 225.2842 | 12.6073 | 4.227 | 2.1603 | 226.7162 | 12.4653
2015-12-11 08:00 | 64 | 741.3333 | 6.5207 | 2.3635 | 204.2809 | 11.9506 | 3.987 | 2.3109 | 204.6797 | 11.6394
2015-12-11 09:00 | 53 | 741.9333 | 7.158 | 3.2456 | 204.8091 | 12.2557 | 5.307 | 3.1578 | 205.4019 | 12.0878
2015-12-11 10:00 | 32 | 742.2417 | 8.1868 | 3.0621 | 225.1499 | 13.1595 | 5.787 | 2.9557 | 224.8946 | 12.798
2015-12-11 11:00 | 30 | 741.975 | 9.6442 | 2.7668 | 221.1859 | 14.571 | 4.787 | 2.634 | 222.067 | 14.1004
2015-12-11 12:00 | 28 | 741.8333 | 11.1225 | 2.1896 | 190.9399 | 15.1355 | 4.027 | 1.9777 | 192.2334 | 14.5498
2015-12-11 13:00 | 27 | 741.4917 | 11.495 | 1.3692 | 154.5096 | 16.6579 | 2.988 | 1.2129 | 150.02 | 15.7768
2015-12-11 14:00 | 31 | 741.4 | 11.4425 | 1.7495 | 93.5135 | 14.4127 | 3.028 | 1.4524 | 91.8417 | 14.0713
2015-12-11 15:00 | 26 | 741.9833 | 9.6242 | 1.0397 | 96.1639 | 12.3494 | 1.868 | 0.92818 | 95.0206 | 11.9211
2015-12-11 16:00 | 51 | 742.1083 | 8.85 | 1.0675 | 86.5411 | 27.3584 | 1.868 | 0.84894 | 78.3753 | 23.2459
2015-12-11 17:00 | 36 | 742.1 | 9.2124 | 2.0075 | 131.6443 | 11.0276 | 4.347 | 1.9506 | 134.9817 | 10.8277
2015-12-11 18:00 | 39 | 741.9833 | 9.905 | 1.8338 | 88.5425 | 11.245 | 3.748 | 1.7075 | 85.4742 | 11.2207
2015-12-11 19:00 | 27 | 741.9667 | 9.7875 | 1.8832 | 72.145 | 13.0397 | 3.588 | 1.8052 | 73.022 | 12.994
2015-12-11 20:00 | 27 | 742.1083 | 9.5183 | 1.8108 | 57.1304 | 10.4021 | 2.708 | 1.7643 | 58.1921 | 10.2007
2015-12-11 21:00 | 22 | 741.8417 | 9.4217 | 1.9098 | 78.0819 | 10.248 | 3.308 | 1.8654 | 78.7796 | 10.0868
2015-12-11 22:00 | 25 | 741.6417 | 11.1292 | 1.6383 | 130.5021 | 24.7218 | 3.748 | 1.185 | 146.2578 | 23.2048
2015-12-11 23:00 | 32 | 741.725 | 12.8542 | 2.7362 | 179.5286 | 13.9372 | 5.547 | 2.6539 | 179.1312 | 13.5267
2015-12-12 | 34 | 741.6083 | 13.175 | 2.6042 | 184.4652 | 12.4901 | 5.427 | 2.4943 | 183.6332 | 12.3423
2015-12-12 01:00 | 30 | 741.5 | 13.0958 | 1.7563 | 172.9304 | 12.4092 | 2.908 | 1.6688 | 173.6432 | 11.7834
2015-12-12 02:00 | 31 | 741.6417 | 13.3042 | 2.2023 | 176.0084 | 12.088 | 4.507 | 2.093 | 175.4135 | 11.9249
2015-12-12 03:00 | 27 | 741.725 | 13.6908 | 2.1314 | 189.0242 | 11.3321 | 3.388 | 2.0833 | 189.0878 | 11.2023
2015-12-12 04:00 | 27 | 742.1917 | 14.0683 | 2.2806 | 202.7579 | 11.5065 | 4.147 | 2.2255 | 202.7237 | 11.3143
2015-12-12 05:00 | 23 | 742.6333 | 14.115 | 2.313 | 193.1261 | 12.9416 | 4.427 | 2.2468 | 192.9219 | 12.633
2015-12-12 06:00 | 24 | 743.425 | 13.9558 | 1.9247 | 204.5093 | 11.1114 | 4.387 | 1.8336 | 205.004 | 11.0446
2015-12-12 07:00 | 30 | 743.7417 | 13.6842 | 1.9671 | 206.2593 | 12.1272 | 3.428 | 1.8816 | 206.0529 | 11.9667
2015-12-12 08:00 | 34 | 744.1167 | 13.7333 | 1.8381 | 213.6996 | 12.3533 | 3.348 | 1.7895 | 214.0864 | 12.1661
2015-12-12 09:00 | 34 | 744.7167 | 13.89 | 2.7222 | 211.7725 | 12.0504 | 4.787 | 2.635 | 212.1382 | 11.8157
2015-12-12 10:00 | 21 | 745.1333 | 13.6967 | 3.2348 | 215.5089 | 11.5926 | 5.747 | 3.1614 | 215.4348 | 11.3836
2015-12-12 11:00 | 21 | 745.1917 | 13.8675 | 2.659 | 219.0973 | 12.6506 | 4.947 | 2.5816 | 219.4959 | 12.2179
2015-12-12 12:00 | 23 | 745.1583 | 14.6725 | 3.1487 | 218.0846 | 13.8544 | 6.107 | 3.0413 | 218.5946 | 13.5807
2015-12-12 13:00 | 19 | 745.0083 | 14.7317 | 2.8243 | 220.8661 | 12.7455 | 6.267 | 2.7372 | 220.9914 | 12.4116
2015-12-12 14:00 | 25 | 745.25 | 14.4333 | 1.5307 | 204.1252 | 14.6933 | 3.028 | 1.3221 | 200.5054 | 14.2683
2015-12-12 15:00 | 31 | 745.6167 | 12.5575 | 1.5608 | 77.85 | 16.2802 | 2.708 | 1.0644 | 75.515 | 15.298
2015-12-12 16:00 | 49 | 745.775 | 10.1558 | 1.351 | 27.9926 | 17.3129 | 2.428 | 1.1892 | 25.9003 | 16.6512
2015-12-12 17:00 | 24 | 745.7583 | 11.025 | 1.4441 | 72.3778 | 15.17 | 3.428 | 1.3353 | 76.0824 | 14.6179
2015-12-12 18:00 | 39 | 745.9917 | 10.4367 | 1.4403 | 16.5847 | 12.9952 | 2.548 | 1.395 | 16.2989 | 12.4105
2015-12-12 19:00 | 35 | 745.9833 | 9.8658 | 0.96 | 20.9428 | 15.8626 | 1.828 | 0.87374 | 18.7566 | 15.2758
2015-12-12 20:00 | 32 | 745.7917 | 10.3 | 0.8935 | 25.1919 | 14.2711 | 1.668 | 0.76267 | 24.7107 | 13.5516
2015-12-12 21:00 | 30 | 745.7667 | 10.8458 | 0.89825 | 36.3997 | 13.9363 | 1.628 | 0.83767 | 36.0289 | 13.8556
2015-12-12 22:00 | 32 | 745.375 | 11.0683 | 1.0554 | 78.9611 | 17.6432 | 1.708 | 0.88319 | 75.9202 | 17.2582
2015-12-12 23:00 | 14 | 745.2083 | 14.2992 | 2.55 | 184.0959 | 14.9896 | 6.267 | 2.477 | 183.7534 | 14.3897

## NT_NE
North Terminal Northeast Site
DATE TIME | APM10 ug/m3
2015-12-06 | 29
2015-12-06 01:00 | 21
2015-12-06 02:00 | 23
2015-12-06 03:00 | 36
2015-12-06 04:00 | 36
2015-12-06 05:00 | 27
2015-12-06 06:00 | 26
2015-12-06 07:00 | 23
2015-12-06 08:00 | 23
2015-12-06 09:00 | 26
2015-12-06 10:00 | 25
2015-12-06 11:00 | 23
2015-12-06 12:00 | 23
2015-12-06 13:00 | 18
2015-12-06 14:00 | 21
2015-12-06 15:00 | 18
2015-12-06 16:00 | 17
2015-12-06 17:00 | 28
2015-12-06 18:00 | 33
2015-12-06 19:00 | 36
2015-12-06 20:00 | 77
2015-12-06 21:00 | 73
2015-12-06 22:00 | 60
2015-12-06 23:00 | 55
2015-12-07 | 40
2015-12-07 01:00 | 45
2015-12-07 02:00 | 55
2015-12-07 03:00 | 47
2015-12-07 04:00 | 32
2015-12-07 05:00 | 25
2015-12-07 06:00 | 28
2015-12-07 07:00 | 28
2015-12-07 08:00 | 24
2015-12-07 09:00 | 23
2015-12-07 10:00 | 42
2015-12-07 11:00 | 47
2015-12-07 12:00 | 41
2015-12-07 13:00 | 38
2015-12-07 14:00 | 31
2015-12-07 15:00 | 35
2015-12-07 16:00 | 32
2015-12-07 17:00 | 28
2015-12-07 18:00 | 23
2015-12-07 19:00 | 22
2015-12-07 20:00 | 19
2015-12-07 21:00 | 28
2015-12-07 22:00 | 16
2015-12-07 23:00 | 23
2015-12-08 | 25
2015-12-08 01:00 | 23
2015-12-08 02:00 | 22
2015-12-08 03:00 | 19
2015-12-08 04:00 | 17
2015-12-08 05:00 | 23
2015-12-08 06:00 | 18
2015-12-08 07:00 | 25
2015-12-08 08:00 | 29
2015-12-08 09:00 | 26
2015-12-08 10:00 | 25
2015-12-08 11:00 | 30
2015-12-08 12:00 | 31
2015-12-08 13:00 | 24
2015-12-08 14:00 | 36
2015-12-08 15:00 | 30
2015-12-08 16:00 | 22
2015-12-08 17:00 | 25
2015-12-08 18:00 | 24
2015-12-08 19:00 | 27
2015-12-08 20:00 | 21
2015-12-08 21:00 | 19
2015-12-08 22:00 | 19
2015-12-08 23:00 | 16
2015-12-09 | 17
2015-12-09 01:00 | 21
2015-12-09 02:00 | 30
2015-12-09 03:00 | 23
2015-12-09 04:00 | 16
2015-12-09 05:00 | 21
2015-12-09 06:00 | 23
2015-12-09 07:00 | 25
2015-12-09 08:00 | 25
2015-12-09 09:00 | 25
2015-12-09 10:00 | 23
2015-12-09 11:00 | 27
2015-12-09 12:00 | 27
2015-12-09 13:00 | 25
2015-12-09 14:00 | 31
2015-12-09 15:00 | 30
2015-12-09 16:00 | 19
2015-12-09 17:00 | 30
2015-12-09 18:00 | 26
2015-12-09 19:00 | 19
2015-12-09 20:00 | 17
2015-12-09 21:00 | 21
2015-12-09 22:00 | 25
2015-12-09 23:00 | 17
2015-12-10 | 18
2015-12-10 01:00 | 20
2015-12-10 02:00 | 13
2015-12-10 03:00 | 17
2015-12-10 04:00 | 16
2015-12-10 05:00 | 16
2015-12-10 06:00 | 20
2015-12-10 07:00 | 29
2015-12-10 08:00 | 35
2015-12-10 09:00 | 54
2015-12-10 10:00 | 46
2015-12-10 11:00 | 72
2015-12-10 12:00 | 87
2015-12-10 13:00 | 56
2015-12-10 14:00 | 44
2015-12-10 15:00 | 30
2015-12-10 16:00 | 40
2015-12-10 17:00 | 21
2015-12-10 18:00 | 13
2015-12-10 19:00 | 16
2015-12-10 20:00 | 11
2015-12-10 21:00 | 14
2015-12-10 22:00 | 12
2015-12-10 23:00 | 12
2015-12-11 | 10
2015-12-11 01:00 | 8
2015-12-11 02:00 | 16
2015-12-11 03:00 | 14
2015-12-11 04:00 | 18
2015-12-11 05:00 | 16
2015-12-11 06:00 | 13
2015-12-11 07:00 | 23
2015-12-11 08:00 | 50
2015-12-11 09:00 | 47
2015-12-11 10:00 | 49
2015-12-11 11:00 | 33
2015-12-11 12:00 | 32
2015-12-11 13:00 | 32
2015-12-11 14:00 | 32
2015-12-11 15:00 | 38
2015-12-11 16:00 | 53
2015-12-11 17:00 | 45
2015-12-11 18:00 | 39
2015-12-11 19:00 | 30
2015-12-11 20:00 | 31
2015-12-11 21:00 | 19
2015-12-11 22:00 | 28
2015-12-11 23:00 | 31
2015-12-12 | 39
2015-12-12 01:00 | 30
2015-12-12 02:00 | 29
2015-12-12 03:00 | 30
2015-12-12 04:00 | 33
2015-12-12 05:00 | 29
2015-12-12 06:00 | 25
2015-12-12 07:00 | 35
2015-12-12 08:00 | 31
2015-12-12 09:00 | 37
2015-12-12 10:00 | 32
2015-12-12 11:00 | 26
2015-12-12 12:00 | 24
2015-12-12 13:00 | 19
2015-12-12 14:00 | 25
2015-12-12 15:00 | 36
2015-12-12 16:00 | 48
2015-12-12 17:00 | 29
2015-12-12 18:00 | 38
2015-12-12 19:00 | 33
2015-12-12 20:00 | 34
2015-12-12 21:00 | 35
2015-12-12 22:00 | 26
2015-12-12 23:00 | 23

## NT_SE
North Terminal Southeast Site
DATE TIME | APM10 ug/m3
2015-12-06 | 25
2015-12-06 01:00 | 25
2015-12-06 02:00 | 26
2015-12-06 03:00 | 33
2015-12-06 04:00 | 29
2015-12-06 05:00 | 29
2015-12-06 06:00 | 23
2015-12-06 07:00 | 29
2015-12-06 08:00 | 25
2015-12-06 09:00 | 23
2015-12-06 10:00 | 24
2015-12-06 11:00 | 20
2015-12-06 12:00 | 34
2015-12-06 13:00 | 26
2015-12-06 14:00 | 25
2015-12-06 15:00 | 20
2015-12-06 16:00 | 27
2015-12-06 17:00 | 25
2015-12-06 18:00 | 32
2015-12-06 19:00 | 43
2015-12-06 20:00 | 93
2015-12-06 21:00 | 71
2015-12-06 22:00 | 90
2015-12-06 23:00 | 80
2015-12-07 | 55
2015-12-07 01:00 | 69
2015-12-07 02:00 | 70
2015-12-07 03:00 | 53
2015-12-07 04:00 | 33
2015-12-07 05:00 | 26
2015-12-07 06:00 | 25
2015-12-07 07:00 | 28
2015-12-07 08:00 | 25
2015-12-07 09:00 | 29
2015-12-07 10:00 | 49
2015-12-07 11:00 | 57
2015-12-07 12:00 | 57
2015-12-07 13:00 | 39
2015-12-07 14:00 | 33
2015-12-07 15:00 | 37
2015-12-07 16:00 | 37
2015-12-07 17:00 | 29
2015-12-07 18:00 | 32
2015-12-07 19:00 | 27
2015-12-07 20:00 | 27
2015-12-07 21:00 | 30
2015-12-07 22:00 | 20
2015-12-07 23:00 | 29
2015-12-08 | 23
2015-12-08 01:00 | 23
2015-12-08 02:00 | 21
2015-12-08 03:00 | 16
2015-12-08 04:00 | 20
2015-12-08 05:00 | 24
2015-12-08 06:00 | 21
2015-12-08 07:00 | 33
2015-12-08 08:00 | 36
2015-12-08 09:00 | 34
2015-12-08 10:00 | 33
2015-12-08 11:00 | 35
2015-12-08 12:00 | 31
2015-12-08 13:00 | 32
2015-12-08 14:00 | 36
2015-12-08 15:00 | 29
2015-12-08 16:00 | 22
2015-12-08 17:00 | 27
2015-12-08 18:00 | 23
2015-12-08 19:00 | 30
2015-12-08 20:00 | 30
2015-12-08 21:00 | 27
2015-12-08 22:00 | 22
2015-12-08 23:00 | 23
2015-12-09 | 19
2015-12-09 01:00 | 36
2015-12-09 02:00 | 37
2015-12-09 03:00 | 19
2015-12-09 04:00 | 20
2015-12-09 05:00 | 31
2015-12-09 06:00 | 43
2015-12-09 07:00 | 43
2015-12-09 08:00 | 48
2015-12-09 09:00 | 26
2015-12-09 10:00 | 29
2015-12-09 11:00 | 37
2015-12-09 12:00 | 42
2015-12-09 13:00 | 34
2015-12-09 14:00 | 46
2015-12-09 15:00 | 35
2015-12-09 16:00 | 27
2015-12-09 17:00 | 36
2015-12-09 18:00 | 31
2015-12-09 19:00 | 36
2015-12-09 20:00 | 34
2015-12-09 21:00 | 27
2015-12-09 22:00 | 20
2015-12-09 23:00 | 19
2015-12-10 | 20
2015-12-10 01:00 | 15
2015-12-10 02:00 | 12
2015-12-10 03:00 | 17
2015-12-10 04:00 | 19
2015-12-10 05:00 | 15
2015-12-10 06:00 | 21
2015-12-10 07:00 | 28
2015-12-10 08:00 | 43
2015-12-10 09:00 | 71
2015-12-10 10:00 | 70
2015-12-10 11:00 | 85
2015-12-10 12:00 | 151
2015-12-10 13:00 | 81
2015-12-10 14:00 | 78
2015-12-10 15:00 | 36
2015-12-10 16:00 | 101
2015-12-10 17:00 | 31
2015-12-10 18:00 | 8
2015-12-10 19:00 | 18
2015-12-10 20:00 | 18
2015-12-10 21:00 | 36
2015-12-10 22:00 | 18
2015-12-10 23:00 | 17
2015-12-11 | 27
2015-12-11 01:00 | 17
2015-12-11 02:00 | 12
2015-12-11 03:00 | 19
2015-12-11 04:00 | 11
2015-12-11 05:00 | 16
2015-12-11 06:00 | 22
2015-12-11 07:00 | 46
2015-12-11 08:00 | 66
2015-12-11 09:00 | 52
2015-12-11 10:00 | 58
2015-12-11 11:00 | 38
2015-12-11 12:00 | 36
2015-12-11 13:00 | 24
2015-12-11 14:00 | 29
2015-12-11 15:00 | 36
2015-12-11 16:00 | 49
2015-12-11 17:00 | 35
2015-12-11 18:00 | 36
2015-12-11 19:00 | 27
2015-12-11 20:00 | 23
2015-12-11 21:00 | 23
2015-12-11 22:00 | 32
2015-12-11 23:00 | 32
2015-12-12 | 36
2015-12-12 01:00 | 36
2015-12-12 02:00 | 33
2015-12-12 03:00 | 34
2015-12-12 04:00 | 42
2015-12-12 05:00 | 31
2015-12-12 06:00 | 24
2015-12-12 07:00 | 36
2015-12-12 08:00 | 34
2015-12-12 09:00 | 39
2015-12-12 10:00 | 33
2015-12-12 11:00 | 30
2015-12-12 12:00 | 29
2015-12-12 13:00 | 23
2015-12-12 14:00 | 30
2015-12-12 15:00 | 38
2015-12-12 16:00 | 48
2015-12-12 17:00 | 31
2015-12-12 18:00 | 40
2015-12-12 19:00 | 34
2015-12-12 20:00 | 30
2015-12-12 21:00 | 38
2015-12-12 22:00 | 36
2015-12-12 23:00 | 25

## NT_SW
North Terminal Southwest Site
DATE TIME | APM10 ug/m3
2015-12-06 | 34
2015-12-06 01:00 | 28
2015-12-06 02:00 | 26
2015-12-06 03:00 | 28
2015-12-06 04:00 | 32
2015-12-06 05:00 | 35
2015-12-06 06:00 | 29
2015-12-06 07:00 | 29
2015-12-06 08:00 | 26
2015-12-06 09:00 | 36
2015-12-06 10:00 | 31
2015-12-06 11:00 | 22
2015-12-06 12:00 | 12
2015-12-06 13:00 | 19
2015-12-06 14:00 | 18
2015-12-06 15:00 | 18
2015-12-06 16:00 | 28
2015-12-06 17:00 | 26
2015-12-06 18:00 | 27
2015-12-06 19:00 | 94
2015-12-06 20:00 | 142
2015-12-06 21:00 | 145
2015-12-06 22:00 | 84
2015-12-06 23:00 | 133
2015-12-07 | 118
2015-12-07 01:00 | 116
2015-12-07 02:00 | 102
2015-12-07 03:00 | 94
2015-12-07 04:00 | 49
2015-12-07 05:00 | 22
2015-12-07 06:00 | 24
2015-12-07 07:00 | 24
2015-12-07 08:00 | 23
2015-12-07 09:00 | 26
2015-12-07 10:00 | 51
2015-12-07 11:00 | 61
2015-12-07 12:00 | 70
2015-12-07 13:00 | 56
2015-12-07 14:00 | 71
2015-12-07 15:00 | 59
2015-12-07 16:00 | 31
2015-12-07 17:00 | 34
2015-12-07 18:00 | 26
2015-12-07 19:00 | 22
2015-12-07 20:00 | 32
2015-12-07 21:00 | 32
2015-12-07 22:00 | 19
2015-12-07 23:00 | 27
2015-12-08 | 31
2015-12-08 01:00 | 25
2015-12-08 02:00 | 23
2015-12-08 03:00 | 30
2015-12-08 04:00 | 31
2015-12-08 05:00 | 34
2015-12-08 06:00 | 37
2015-12-08 07:00 | 39
2015-12-08 08:00 | 46
2015-12-08 09:00 | 45
2015-12-08 10:00 | 55
2015-12-08 11:00 | 51
2015-12-08 12:00 | 55
2015-12-08 13:00 | 29
2015-12-08 14:00 | 41
2015-12-08 15:00 | 31
2015-12-08 16:00 | 21
2015-12-08 17:00 | 23
2015-12-08 18:00 | 24
2015-12-08 19:00 | 22
2015-12-08 20:00 | 37
2015-12-08 21:00 | 28
2015-12-08 22:00 | 19
2015-12-08 23:00 | 92
2015-12-09 | 30
2015-12-09 01:00 | 57
2015-12-09 02:00 | 26
2015-12-09 03:00 | 25
2015-12-09 04:00 | 26
2015-12-09 05:00 | 23
2015-12-09 06:00 | 22
2015-12-09 07:00 | 20
2015-12-09 08:00 | 21
2015-12-09 09:00 | 25
2015-12-09 10:00 | 22
2015-12-09 11:00 | 41
2015-12-09 12:00 | 52
2015-12-09 13:00 | 39
2015-12-09 14:00 | 69
2015-12-09 15:00 | 43
2015-12-09 16:00 | 21
2015-12-09 17:00 | 25
2015-12-09 18:00 | 26
2015-12-09 19:00 | 47
2015-12-09 20:00 | 43
2015-12-09 21:00 | 47
2015-12-09 22:00 | 78
2015-12-09 23:00 | 47
2015-12-10 | 29
2015-12-10 01:00 | 27
2015-12-10 02:00 | 25
2015-12-10 03:00 | 26
2015-12-10 04:00 | 25
2015-12-10 05:00 | 31
2015-12-10 06:00 | 32
2015-12-10 07:00 | 61
2015-12-10 08:00 | 120
2015-12-10 09:00 | 125
2015-12-10 10:00 | 132
2015-12-10 11:00 | 214
2015-12-10 12:00 | 180
2015-12-10 13:00 | 95
2015-12-10 14:00 | 119
2015-12-10 15:00 | 55
2015-12-10 16:00 | 40
2015-12-10 17:00 | 32
2015-12-10 18:00 | 7
2015-12-10 19:00 | 19
2015-12-10 20:00 | 26
2015-12-10 21:00 | 40
2015-12-10 22:00 | 26
2015-12-10 23:00 | 25
2015-12-11 | 15
2015-12-11 01:00 | 17
2015-12-11 02:00 | 20
2015-12-11 03:00 | 17
2015-12-11 04:00 | 16
2015-12-11 05:00 | 18
2015-12-11 06:00 | 28
2015-12-11 07:00 | 33
2015-12-11 08:00 | 89
2015-12-11 09:00 | 70
2015-12-11 10:00 | 49
2015-12-11 11:00 | 61
2015-12-11 12:00 | 43
2015-12-11 13:00 | 43
2015-12-11 14:00 | 32
2015-12-11 15:00 | 27
2015-12-11 16:00 | 64
2015-12-11 17:00 | 34
2015-12-11 18:00 | 36
2015-12-11 19:00 | 26
2015-12-11 20:00 | 31
2015-12-11 21:00 | 22
2015-12-11 22:00 | 31
2015-12-11 23:00 | 35
2015-12-12 | 36
2015-12-12 01:00 | 41
2015-12-12 02:00 | 31
2015-12-12 03:00 | 29
2015-12-12 04:00 | 30
2015-12-12 05:00 | 24
2015-12-12 06:00 | 28
2015-12-12 07:00 | 35
2015-12-12 08:00 | 30
2015-12-12 09:00 | 36
2015-12-12 10:00 | 24
2015-12-12 11:00 | 22
2015-12-12 12:00 | 22
2015-12-12 13:00 | 20
2015-12-12 14:00 | 30
2015-12-12 15:00 | 32
2015-12-12 16:00 | 47
2015-12-12 17:00 | 26
2015-12-12 18:00 | 41
2015-12-12 19:00 | 36
2015-12-12 20:00 | 34
2015-12-12 21:00 | 34
2015-12-12 22:00 | 36
2015-12-12 23:00 | 43

## ST_NW
South Terminal Northwest Site
DATE TIME | APM10 ug/m3
2015-12-06 | 34
2015-12-06 01:00 | 25
2015-12-06 02:00 | 25
2015-12-06 03:00 | 28
2015-12-06 04:00 | 25
2015-12-06 05:00 | 36
2015-12-06 06:00 | 26
2015-12-06 07:00 | 25
2015-12-06 08:00 | 23
2015-12-06 09:00 | 27
2015-12-06 10:00 | 24
2015-12-06 11:00 | 21
2015-12-06 12:00 | 21
2015-12-06 13:00 | 20
2015-12-06 14:00 | 20
2015-12-06 15:00 | 20
2015-12-06 16:00 | 37
2015-12-06 17:00 | 30
2015-12-06 18:00 | 29
2015-12-06 19:00 | 32
2015-12-06 20:00 | 39
2015-12-06 21:00 | 35
2015-12-06 22:00 | 48
2015-12-06 23:00 | 43
2015-12-07 | 47
2015-12-07 01:00 | 46
2015-12-07 02:00 | 40
2015-12-07 03:00 | 40
2015-12-07 04:00 | 30
2015-12-07 05:00 | 26
2015-12-07 06:00 | 27
2015-12-07 07:00 | 30
2015-12-07 08:00 | 26
2015-12-07 09:00 | 25
2015-12-07 10:00 | 46
2015-12-07 11:00 | 45
2015-12-07 12:00 | 38
2015-12-07 13:00 | 31
2015-12-07 14:00 | 35
2015-12-07 15:00 | 33
2015-12-07 16:00 | 33
2015-12-07 17:00 | 29
2015-12-07 18:00 | 24
2015-12-07 19:00 | 23
2015-12-07 20:00 | 22
2015-12-07 21:00 | 21
2015-12-07 22:00 | 23
2015-12-07 23:00 | 25
2015-12-08 | 25
2015-12-08 01:00 | 19
2015-12-08 02:00 | 29
2015-12-08 03:00 | 27
2015-12-08 04:00 | 19
2015-12-08 05:00 | 22
2015-12-08 06:00 | 27
2015-12-08 07:00 | 21
2015-12-08 08:00 | 43
2015-12-08 09:00 | 25
2015-12-08 10:00 | 20
2015-12-08 11:00 | 22
2015-12-08 12:00 | 30
2015-12-08 13:00 | 26
2015-12-08 14:00 | 40
2015-12-08 15:00 | 28
2015-12-08 16:00 | 20
2015-12-08 17:00 | 24
2015-12-08 18:00 | 24
2015-12-08 19:00 | 26
2015-12-08 20:00 | 38
2015-12-08 21:00 | 29
2015-12-08 22:00 | 14
2015-12-08 23:00 | 125
2015-12-09 | 36
2015-12-09 01:00 | 66
2015-12-09 02:00 | 23
2015-12-09 03:00 | 23
2015-12-09 04:00 | 25
2015-12-09 05:00 | 27
2015-12-09 06:00 | 28
2015-12-09 07:00 | 30
2015-12-09 08:00 | 26
2015-12-09 09:00 | 26
2015-12-09 10:00 | 26
2015-12-09 11:00 | 22
2015-12-09 12:00 | 26
2015-12-09 13:00 | 19
2015-12-09 14:00 | 21
2015-12-09 15:00 | 23
2015-12-09 16:00 | 29
2015-12-09 17:00 | 44
2015-12-09 18:00 | 28
2015-12-09 19:00 | 18
2015-12-09 20:00 | 14
2015-12-09 21:00 | 15
2015-12-09 22:00 | 18
2015-12-09 23:00 | 14
2015-12-10 | 22
2015-12-10 01:00 | 19
2015-12-10 02:00 | 14
2015-12-10 03:00 | 18
2015-12-10 04:00 | 22
2015-12-10 05:00 | 20
2015-12-10 06:00 | 26
2015-12-10 07:00 | 71
2015-12-10 08:00 | 83
2015-12-10 09:00 | 107
2015-12-10 10:00 | 33
2015-12-10 11:00 | 34
2015-12-10 12:00 | 34
2015-12-10 13:00 | 28
2015-12-10 14:00 | 29
2015-12-10 15:00 | 21
2015-12-10 16:00 | 27
2015-12-10 17:00 | 16
2015-12-10 18:00 | 9
2015-12-10 19:00 | 7
2015-12-10 20:00 | 8
2015-12-10 21:00 | 8
2015-12-10 22:00 | 10
2015-12-10 23:00 | 16
2015-12-11 | 13
2015-12-11 01:00 | 13
2015-12-11 02:00 | 13
2015-12-11 03:00 | 10
2015-12-11 04:00 | 9
2015-12-11 05:00 | 11
2015-12-11 06:00 | 18
2015-12-11 07:00 | 27
2015-12-11 08:00 | 25
2015-12-11 09:00 | 28
2015-12-11 10:00 | 30
2015-12-11 11:00 | 28
2015-12-11 12:00 | 34
2015-12-11 13:00 | 21
2015-12-11 14:00 | 23
2015-12-11 15:00 | 41
2015-12-11 16:00 | 54
2015-12-11 17:00 | 31
2015-12-11 18:00 | 31
2015-12-11 19:00 | 25
2015-12-11 20:00 | 25
2015-12-11 21:00 | 23
2015-12-11 22:00 | 22
2015-12-11 23:00 | 29
2015-12-12 | 28
2015-12-12 01:00 | 24
2015-12-12 02:00 | 29
2015-12-12 03:00 | 28
2015-12-12 04:00 | 26
2015-12-12 05:00 | 26
2015-12-12 06:00 | 23
2015-12-12 07:00 | 24
2015-12-12 08:00 | 29
2015-12-12 09:00 | 32
2015-12-12 10:00 | 23
2015-12-12 11:00 | 19
2015-12-12 12:00 | 21
2015-12-12 13:00 | 19
2015-12-12 14:00 | 22
2015-12-12 15:00 | 28
2015-12-12 16:00 | 49
2015-12-12 17:00 | 34
2015-12-12 18:00 | 44
2015-12-12 19:00 | 41
2015-12-12 20:00 | 32
2015-12-12 21:00 | 34
2015-12-12 22:00 | 22
2015-12-12 23:00 | 18

## ST_North
South Terminal North Site
DATE TIME | APM10 ug/m3
2015-12-06 | 20
2015-12-06 01:00 | 19
2015-12-06 02:00 | 20
2015-12-06 03:00 | 30
2015-12-06 04:00 | 20
2015-12-06 05:00 | 20
2015-12-06 06:00 | 19
2015-12-06 07:00 | 22
2015-12-06 08:00 | 18
2015-12-06 09:00 | 20
2015-12-06 10:00 | 28
2015-12-06 11:00 | 20
2015-12-06 12:00 | 17
2015-12-06 13:00 | 16
2015-12-06 14:00 | 19
2015-12-06 15:00 | 13
2015-12-06 16:00 | 23
2015-12-06 17:00 | 28
2015-12-06 18:00 | 22
2015-12-06 19:00 | 32
2015-12-06 20:00 | 33
2015-12-06 21:00 | 34
2015-12-06 22:00 | 36
2015-12-06 23:00 | 39
2015-12-07 | 70
2015-12-07 01:00 | 48
2015-12-07 02:00 | 37
2015-12-07 03:00 | 39
2015-12-07 04:00 | 36
2015-12-07 05:00 | 22
2015-12-07 06:00 | 24
2015-12-07 07:00 | 27
2015-12-07 08:00 | 22
2015-12-07 09:00 | 22
2015-12-07 10:00 | 45
2015-12-07 11:00 | 41
2015-12-07 12:00 | 37
2015-12-07 13:00 | 32
2015-12-07 14:00 | 29
2015-12-07 15:00 | 32
2015-12-07 16:00 | 24
2015-12-07 17:00 | 27
2015-12-07 18:00 | 22
2015-12-07 19:00 | 18
2015-12-07 20:00 | 22
2015-12-07 21:00 | 18
2015-12-07 22:00 | 21
2015-12-07 23:00 | 22
2015-12-08 | 22
2015-12-08 01:00 | 22
2015-12-08 02:00 | 18
2015-12-08 03:00 | 23
2015-12-08 04:00 | 22
2015-12-08 05:00 | 16
2015-12-08 06:00 | 18
2015-12-08 07:00 | 30
2015-12-08 08:00 | 27
2015-12-08 09:00 | 29
2015-12-08 10:00 | 28
2015-12-08 11:00 | 25
2015-12-08 12:00 | 28
2015-12-08 13:00 | 22
2015-12-08 14:00 | 33
2015-12-08 15:00 | 24
2015-12-08 16:00 | 20
2015-12-08 17:00 | 17
2015-12-08 18:00 | 27
2015-12-08 19:00 | 24
2015-12-08 20:00 | 26
2015-12-08 21:00 | 17
2015-12-08 22:00 | 19
2015-12-08 23:00 | 18
2015-12-09 | 21
2015-12-09 01:00 | 55
2015-12-09 02:00 | 33
2015-12-09 03:00 | 19
2015-12-09 04:00 | 16
2015-12-09 05:00 | 21
2015-12-09 06:00 | 22
2015-12-09 07:00 | 25
2015-12-09 08:00 | 21
2015-12-09 09:00 | 24
2015-12-09 10:00 | 22
2015-12-09 11:00 | 24
2015-12-09 12:00 | 23
2015-12-09 13:00 | 22
2015-12-09 14:00 | 27
2015-12-09 15:00 | 24
2015-12-09 16:00 | 24
2015-12-09 17:00 | 30
2015-12-09 18:00 | 28
2015-12-09 19:00 | 22
2015-12-09 20:00 | 14
2015-12-09 21:00 | 14
2015-12-09 22:00 | 21
2015-12-09 23:00 | 14
2015-12-10 | 22
2015-12-10 01:00 | 16
2015-12-10 02:00 | 12
2015-12-10 03:00 | 12
2015-12-10 04:00 | 11
2015-12-10 05:00 | 13
2015-12-10 06:00 | 12
2015-12-10 07:00 | 24
2015-12-10 08:00 | 38
2015-12-10 09:00 | 65
2015-12-10 10:00 | 60
2015-12-10 11:00 | 65
2015-12-10 12:00 | 64
2015-12-10 13:00 | 35
2015-12-10 14:00 | 37
2015-12-10 15:00 | 21
2015-12-10 16:00 | 27
2015-12-10 17:00 | 13
2015-12-10 18:00 | 8
2015-12-10 19:00 | 6
2015-12-10 20:00 | 9
2015-12-10 21:00 | 6
2015-12-10 22:00 | 6
2015-12-10 23:00 | 8
2015-12-11 | 4
2015-12-11 01:00 | 6
2015-12-11 02:00 | 7
2015-12-11 03:00 | 6
2015-12-11 04:00 | 5
2015-12-11 05:00 | 9
2015-12-11 06:00 | 11
2015-12-11 07:00 | 22
2015-12-11 08:00 | 46
2015-12-11 09:00 | 41
2015-12-11 10:00 | 31
2015-12-11 11:00 | 22
2015-12-11 12:00 | 31
2015-12-11 13:00 | 20
2015-12-11 14:00 | 19
2015-12-11 15:00 | 34
2015-12-11 16:00 | 37
2015-12-11 17:00 | 30
2015-12-11 18:00 | 24
2015-12-11 19:00 | 20
2015-12-11 20:00 | 25
2015-12-11 21:00 | 21
2015-12-11 22:00 | 29
2015-12-11 23:00 | 34
2015-12-12 | 29
2015-12-12 01:00 | 28
2015-12-12 02:00 | 26
2015-12-12 03:00 | 26
2015-12-12 04:00 | 26
2015-12-12 05:00 | 25
2015-12-12 06:00 | 23
2015-12-12 07:00 | 28
2015-12-12 08:00 | 27
2015-12-12 09:00 | 30
2015-12-12 10:00 | 22
2015-12-12 11:00 | 18
2015-12-12 12:00 | 24
2015-12-12 13:00 | 17
2015-12-12 14:00 | 24
2015-12-12 15:00 | 28
2015-12-12 16:00 | 41
2015-12-12 17:00 | 35
2015-12-12 18:00 | 42
2015-12-12 19:00 | 34
2015-12-12 20:00 | 36
2015-12-12 21:00 | 22
2015-12-12 22:00 | 20
2015-12-12 23:00 | 10

## ST_NE
South Terminal Northeast Site
DATE TIME | APM10 ug/m3
2015-12-06 | 19
2015-12-06 01:00 | 19
2015-12-06 02:00 | 20
2015-12-06 03:00 | 24
2015-12-06 04:00 | 22
2015-12-06 05:00 | 20
2015-12-06 06:00 | 23
2015-12-06 07:00 | 20
2015-12-06 08:00 | 21
2015-12-06 09:00 | 20
2015-12-06 10:00 | 27
2015-12-06 11:00 | 18
2015-12-06 12:00 | 18
2015-12-06 13:00 | 14
2015-12-06 14:00 | 18
2015-12-06 15:00 | 16
2015-12-06 16:00 | 15
2015-12-06 17:00 | 22
2015-12-06 18:00 | 29
2015-12-06 19:00 | 24
2015-12-06 20:00 | 33
2015-12-06 21:00 | 31
2015-12-06 22:00 | 31
2015-12-06 23:00 | 38
2015-12-07 | 56
2015-12-07 01:00 | 41
2015-12-07 02:00 | 35
2015-12-07 03:00 | 38
2015-12-07 04:00 | 33
2015-12-07 05:00 | 22
2015-12-07 06:00 | 18
2015-12-07 07:00 | 25
2015-12-07 08:00 | 26
2015-12-07 09:00 | 20
2015-12-07 10:00 | 45
2015-12-07 11:00 | 43
2015-12-07 12:00 | 32
2015-12-07 13:00 | 25
2015-12-07 14:00 | 25
2015-12-07 15:00 | 31
2015-12-07 16:00 | 24
2015-12-07 17:00 | 27
2015-12-07 18:00 | 22
2015-12-07 19:00 | 19
2015-12-07 20:00 | 16
2015-12-07 21:00 | 21
2015-12-07 22:00 | 18
2015-12-07 23:00 | 17
2015-12-08 | 19
2015-12-08 01:00 | 18
2015-12-08 02:00 | 18
2015-12-08 03:00 | 15
2015-12-08 04:00 | 15
2015-12-08 05:00 | 15
2015-12-08 06:00 | 18
2015-12-08 07:00 | 25
2015-12-08 08:00 | 31
2015-12-08 09:00 | 29
2015-12-08 10:00 | 19
2015-12-08 11:00 | 24
2015-12-08 12:00 | 31
2015-12-08 13:00 | 37
2015-12-08 14:00 | 32
2015-12-08 15:00 | 25
2015-12-08 16:00 | 27
2015-12-08 17:00 | 20
2015-12-08 18:00 | 21
2015-12-08 19:00 | 21
2015-12-08 20:00 | 23
2015-12-08 21:00 | 21
2015-12-08 22:00 | 15
2015-12-08 23:00 | 16
2015-12-09 | 14
2015-12-09 01:00 | 22
2015-12-09 02:00 | 44
2015-12-09 03:00 | 30
2015-12-09 04:00 | 24
2015-12-09 05:00 | 20
2015-12-09 06:00 | 19
2015-12-09 07:00 | 25
2015-12-09 08:00 | 27
2015-12-09 09:00 | 20
2015-12-09 10:00 | 24
2015-12-09 11:00 | 20
2015-12-09 12:00 | 23
2015-12-09 13:00 | 22
2015-12-09 14:00 | 18
2015-12-09 15:00 | 27
2015-12-09 16:00 | 19
2015-12-09 17:00 | 27
2015-12-09 18:00 | 30
2015-12-09 19:00 | 21
2015-12-09 20:00 | 22
2015-12-09 21:00 | 16
2015-12-09 22:00 | 18
2015-12-09 23:00 | 18
2015-12-10 | 17
2015-12-10 01:00 | 15
2015-12-10 02:00 | 10
2015-12-10 03:00 | 10
2015-12-10 04:00 | 15
2015-12-10 05:00 | 12
2015-12-10 06:00 | 24
2015-12-10 07:00 | 27
2015-12-10 08:00 | 39
2015-12-10 09:00 | 82
2015-12-10 10:00 | 56
2015-12-10 11:00 | 68
2015-12-10 12:00 | 70
2015-12-10 13:00 | 94
2015-12-10 14:00 | 40
2015-12-10 15:00 | 29
2015-12-10 16:00 | 29
2015-12-10 17:00 | 16
2015-12-10 18:00 | 4
2015-12-10 19:00 | 6
2015-12-10 20:00 | 11
2015-12-10 21:00 | 10
2015-12-10 22:00 | 8
2015-12-10 23:00 | 7
2015-12-11 | 6
2015-12-11 01:00 | 13
2015-12-11 02:00 | 14
2015-12-11 03:00 | 4
2015-12-11 04:00 | 4
2015-12-11 05:00 | 10
2015-12-11 06:00 | 7
2015-12-11 07:00 | 31
2015-12-11 08:00 | 56
2015-12-11 09:00 | 48
2015-12-11 10:00 | 42
2015-12-11 11:00 | 42
2015-12-11 12:00 | 41
2015-12-11 13:00 | 18
2015-12-11 14:00 | 18
2015-12-11 15:00 | 39
2015-12-11 16:00 | 61
2015-12-11 17:00 | 30
2015-12-11 18:00 | 26
2015-12-11 19:00 | 27
2015-12-11 20:00 | 33
2015-12-11 21:00 | 26
2015-12-11 22:00 | 27
2015-12-11 23:00 | 33
2015-12-12 | 35
2015-12-12 01:00 | 31
2015-12-12 02:00 | 28
2015-12-12 03:00 | 24
2015-12-12 04:00 | 27
2015-12-12 05:00 | 25
2015-12-12 06:00 | 24
2015-12-12 07:00 | 29
2015-12-12 08:00 | 32
2015-12-12 09:00 | 46
2015-12-12 10:00 | 29
2015-12-12 11:00 | 23
2015-12-12 12:00 | 22
2015-12-12 13:00 | 18
2015-12-12 14:00 | 26
2015-12-12 15:00 | 30
2015-12-12 16:00 | 45
2015-12-12 17:00 | 38
2015-12-12 18:00 | 47
2015-12-12 19:00 | 41
2015-12-12 20:00 | 36
2015-12-12 21:00 | 38
2015-12-12 22:00 | 29
2015-12-12 23:00 | 15

## ST_Met
South Terminal - Meteorological Site
DATE TIME | PRESS mmHg | TEMP DEG C | GUST m/s | WSPD m/s | WDIR deg | HZD-S deg | RESSP m/s | RESDR deg | HZD-V deg
2015-12-06 | 757.5167 | 0.48308 | 3.588 | 2.3575 | 182.5867 | 9.9018 | 2.2965 | 182.6584 | 9.7653
2015-12-06 01:00 | 757.025 | 0.14517 | 4.787 | 3.1252 | 174.9661 | 7.4276 | 3.097 | 174.9594 | 7.3528
2015-12-06 02:00 | 756.5 | 0.3095 | 5.147 | 3.3425 | 178.6743 | 8.1285 | 3.2986 | 178.7366 | 8.0628
2015-12-06 03:00 | 756.25 | 0.80408 | 5.787 | 3.3795 | 192.4263 | 8.9185 | 3.3341 | 192.6951 | 8.8728
2015-12-06 04:00 | 756.05 | 0.54067 | 4.987 | 2.6644 | 184.6619 | 8.9685 | 2.613 | 185.1156 | 8.9829
2015-12-06 05:00 | 755.6667 | -0.19692 | 3.588 | 2.575 | 174.3917 | 7.3934 | 2.5489 | 174.502 | 7.3827
2015-12-06 06:00 | 755.2583 | -0.387 | 4.307 | 2.7212 | 176.3762 | 8.4694 | 2.6839 | 175.8744 | 8.3875
2015-12-06 07:00 | 754.9083 | -0.54 | 2.828 | 1.8239 | 174.0872 | 10.1069 | 1.7745 | 173.7728 | 9.9951
2015-12-06 08:00 | 754.725 | 1.0977 | 4.507 | 2.5163 | 176.9484 | 10.5096 | 2.4644 | 176.1264 | 10.3302
2015-12-06 09:00 | 754.2417 | 3.9817 | 5.707 | 3.6978 | 183.4019 | 11.1412 | 3.5523 | 183.1913 | 10.8589
2015-12-06 10:00 | 753.7667 | 6.1401 | 6.027 | 3.7172 | 193.9708 | 12.3592 | 3.6099 | 193.5635 | 12.0471
2015-12-06 11:00 | 752.7083 | 7.6325 | 6.307 | 3.7769 | 199.0624 | 12.8576 | 3.6066 | 198.9324 | 12.5395
2015-12-06 12:00 | 752.175 | 8.266 | 5.627 | 3.2509 | 222.9016 | 15.6605 | 3.0171 | 224.6017 | 15.1611
2015-12-06 13:00 | 751.925 | 8.2858 | 4.867 | 2.5706 | 236.6636 | 13.8001 | 2.4843 | 236.9557 | 13.2584
2015-12-06 14:00 | 751.5583 | 8.1842 | 2.908 | 1.8053 | 201.4468 | 15.9862 | 1.539 | 203.729 | 15.5229
2015-12-06 15:00 | 751.3833 | 7.8616 | 3.348 | 1.8005 | 170.184 | 13.4703 | 1.6854 | 169.2741 | 12.8635
2015-12-06 16:00 | 751.45 | 6.7481 | 2.668 | 1.7853 | 178.4495 | 7.5394 | 1.7598 | 178.1373 | 7.5218
2015-12-06 17:00 | 751.675 | 5.7502 | 2.548 | 1.6321 | 190.036 | 8.2677 | 1.5866 | 189.8668 | 8.2485
2015-12-06 18:00 | 751.825 | 4.9844 | 2.868 | 1.8491 | 220.8959 | 5.4583 | 1.7686 | 220.6199 | 5.445
2015-12-06 19:00 | 751.85 | 4.1107 | 1.588 | 0.83117 | 265.9501 | 7.458 | 0.79894 | 264.2902 | 7.4941
2015-12-06 20:00 | 751.6417 | 3.5907 | 2.268 | 1.2914 | 236.7202 | 7.7051 | 1.2434 | 240.0067 | 7.3616
2015-12-06 21:00 | 751.4 | 2.9172 | 1.748 | 0.99942 | 265.9565 | 7.1758 | 0.95171 | 263.6469 | 7.1139
2015-12-06 22:00 | 751.575 | 1.7026 | 1.668 | 0.49642 | 287.9708 | 6.5963 | 0.34996 | 269.9635 | 6.4434
2015-12-06 23:00 | 751.575 | 1.915 | 4.347 | 1.7589 | 292.0073 | 9.4775 | 1.7226 | 290.2227 | 9.5231
2015-12-07 | 751.3417 | 2.2985 | 2.828 | 1.6078 | 278.3851 | 13.193 | 1.5629 | 279.2464 | 13.1499
2015-12-07 01:00 | 751.3 | 1.0328 | 2.548 | 1.0737 | 239.873 | 15.3707 | 0.84098 | 256.8454 | 15.1279
2015-12-07 02:00 | 751.3917 | 0.55442 | 1.788 | 1.2792 | 244.4768 | 8.0495 | 1.2226 | 247.1775 | 7.8273
2015-12-07 03:00 | 751.3583 | -0.05625 | 2.068 | 0.90625 | 284.8303 | 13.7169 | 0.48709 | 279.8552 | 13.2856
2015-12-07 04:00 | 751.4917 | 1.2717 | 3.788 | 1.403 | 358.3264 | 19.6125 | 1.2225 | 7.6506 | 18.904
2015-12-07 05:00 | 751.6083 | 2.6545 | 4.507 | 2.1682 | 20.6084 | 18.9306 | 2.0244 | 18.7074 | 17.953
2015-12-07 06:00 | 751.6667 | 3.0734 | 4.547 | 2.2925 | 14.433 | 17.6015 | 2.145 | 13.9717 | 16.9918
2015-12-07 07:00 | 751.8417 | 3.1996 | 3.588 | 1.6243 | 31.4179 | 21.9284 | 1.483 | 29.7175 | 19.7302
2015-12-07 08:00 | 752.05 | 3.7408 | 2.508 | 1.1986 | 56.6653 | 25.0619 | 0.99847 | 50.9946 | 23.7791
2015-12-07 09:00 | 752.3167 | 4.0496 | 2.188 | 1.0192 | 254.1288 | 30.0574 | 0.12746 | 287.0347 | 25.6652
2015-12-07 10:00 | 752.1833 | 4.2832 | 3.908 | 2.024 | 212.1332 | 14.272 | 1.8996 | 210.1207 | 13.8899
2015-12-07 11:00 | 751.5667 | 3.973 | 4.307 | 2.4265 | 212.1524 | 13.8132 | 2.1113 | 211.4005 | 13.7467
2015-12-07 12:00 | 751.0333 | 3.5363 | 5.387 | 2.9676 | 204.0792 | 13.3542 | 2.7731 | 201.9544 | 13.0498
2015-12-07 13:00 | 750.5417 | 3.6202 | 5.587 | 3.2958 | 192.5462 | 11.9446 | 3.0963 | 193.4425 | 11.7248
2015-12-07 14:00 | 750.0667 | 3.8567 | 5.907 | 3.5546 | 179.8943 | 11.5303 | 3.4531 | 179.3393 | 11.3025
2015-12-07 15:00 | 749.9833 | 3.7698 | 5.427 | 3.3998 | 201.8677 | 11.1557 | 3.2826 | 202.1288 | 10.956
2015-12-07 16:00 | 749.5 | 3.6034 | 6.387 | 3.7179 | 196.0116 | 10.8262 | 3.6009 | 195.1623 | 10.6108
2015-12-07 17:00 | 749.4333 | 3.4733 | 5.987 | 3.7025 | 192.8156 | 9.5957 | 3.5888 | 192.7491 | 9.4819
2015-12-07 18:00 | 749.5667 | 2.8808 | 6.747 | 4.4037 | 200.4101 | 11.1995 | 4.1936 | 201.3132 | 11.0301
2015-12-07 19:00 | 748.95 | 2.9874 | 7.347 | 4.3693 | 180.6068 | 10.1334 | 4.2924 | 180.3053 | 10.0749
2015-12-07 20:00 | 748.35 | 3.0526 | 9.39 | 5.4066 | 185.1732 | 8.9942 | 5.3263 | 185.1576 | 8.9288
2015-12-07 21:00 | 748.0417 | 2.9968 | 8.83 | 4.6829 | 198.8398 | 10.6813 | 4.5387 | 198.1439 | 10.4913
2015-12-07 22:00 | 747.225 | 3.3237 | 11.03 | 5.3668 | 178.2523 | 11.2964 | 5.2301 | 178.236 | 11.0962
2015-12-07 23:00 | 747.3167 | 3.7384 | 10.99 | 5.8553 | 196.1567 | 9.6662 | 5.7431 | 196.9286 | 9.534
2015-12-08 | 747.125 | 4.1095 | 8.67 | 5.404 | 194.3924 | 9.6725 | 5.3194 | 194.4135 | 9.71
2015-12-08 01:00 | 746.625 | 4.2506 | 7.827 | 4.401 | 186.8067 | 9.5261 | 4.3272 | 187.2839 | 9.5293
2015-12-08 02:00 | 746.225 | 4.175 | 7.467 | 4.7502 | 183.7587 | 9.4065 | 4.6816 | 183.6726 | 9.3879
2015-12-08 03:00 | 745.7917 | 3.9743 | 9.07 | 5.3858 | 183.7907 | 9.2109 | 5.3043 | 183.6034 | 9.1401
2015-12-08 04:00 | 745.6917 | 4.0047 | 8.15 | 5.0875 | 187.3252 | 8.5227 | 5.0303 | 187.4581 | 8.4306
2015-12-08 05:00 | 745.5583 | 4.0501 | 9.27 | 5.1817 | 186.2837 | 9.8263 | 5.1046 | 186.2812 | 9.6993
2015-12-08 06:00 | 745.2917 | 4.0213 | 8.35 | 5.0164 | 185.5086 | 9.5327 | 4.9443 | 185.5031 | 9.4538
2015-12-08 07:00 | 745.1917 | 4.278 | 8.23 | 4.9837 | 192.3495 | 9.2827 | 4.9053 | 192.2939 | 9.2266
2015-12-08 08:00 | 745.0333 | 4.6308 | 7.747 | 4.7004 | 184.9907 | 9.369 | 4.6309 | 184.9988 | 9.3138
2015-12-08 09:00 | 745.125 | 5.1625 | 8.03 | 5.0395 | 188.9915 | 9.7809 | 4.9621 | 189.0119 | 9.6572
2015-12-08 10:00 | 744.95 | 5.7717 | 9.11 | 5.2887 | 193.8397 | 9.7912 | 5.2039 | 193.9815 | 9.6488
2015-12-08 11:00 | 744.4167 | 6.0988 | 8.11 | 5.1856 | 193.6728 | 9.3701 | 5.0868 | 194.1287 | 9.2012
2015-12-08 12:00 | 743.7667 | 6.8005 | 7.347 | 4.79 | 185.8765 | 9.3258 | 4.7079 | 185.6348 | 9.2303
2015-12-08 13:00 | 743.1 | 7.5086 | 7.027 | 4.4765 | 176.8386 | 11.8608 | 4.3277 | 177.0667 | 11.6836
2015-12-08 14:00 | 742.6667 | 7.6423 | 7.667 | 4.6592 | 178.801 | 9.6179 | 4.5812 | 178.8458 | 9.492
2015-12-08 15:00 | 742.6083 | 7.5928 | 7.387 | 4.3083 | 176.9603 | 9.6349 | 4.2143 | 177.5682 | 9.4864
2015-12-08 16:00 | 742.25 | 7.2385 | 6.147 | 3.3289 | 169.5084 | 10.9068 | 3.2593 | 169.8506 | 10.7802
2015-12-08 17:00 | 742.175 | 6.9527 | 4.547 | 2.5031 | 170.6884 | 10.9042 | 2.4507 | 170.7171 | 10.7201
2015-12-08 18:00 | 741.6417 | 6.8812 | 5.307 | 2.8254 | 161.2239 | 11.7837 | 2.7629 | 161.19 | 11.6457
2015-12-08 19:00 | 741.2667 | 6.7054 | 5.467 | 3.0743 | 174.1325 | 8.709 | 3.0295 | 173.8827 | 8.6942
2015-12-08 20:00 | 741.225 | 7.43 | 7.747 | 4.1898 | 183.4572 | 8.809 | 4.132 | 182.9965 | 8.8188
2015-12-08 21:00 | 740.8 | 7.77 | 8.35 | 4.8448 | 178.7917 | 8.8504 | 4.7833 | 178.7261 | 8.8501
2015-12-08 22:00 | 740.2083 | 7.8598 | 7.987 | 4.5494 | 170.0419 | 10.7751 | 4.4652 | 170.392 | 10.5937
2015-12-08 23:00 | 739.5917 | 7.8776 | 8.27 | 4.757 | 174.6417 | 8.7122 | 4.7004 | 174.454 | 8.6495
2015-12-09 | 738.8333 | 7.8872 | 7.987 | 4.9872 | 173.1077 | 9.3676 | 4.9171 | 173.0374 | 9.2543
2015-12-09 01:00 | 738.275 | 7.8806 | 7.867 | 4.714 | 177.8143 | 8.8635 | 4.6493 | 177.8482 | 8.8304
2015-12-09 02:00 | 738.1167 | 8.1723 | 7.347 | 4.5876 | 182.6667 | 8.9795 | 4.528 | 182.4573 | 8.9202
2015-12-09 03:00 | 737.85 | 7.749 | 7.067 | 4.1906 | 183.8168 | 8.8343 | 4.1383 | 184.0239 | 8.8463
2015-12-09 04:00 | 737.6833 | 7.1388 | 6.307 | 4.0592 | 183.4833 | 8.1598 | 4.0166 | 183.5373 | 8.1101
2015-12-09 05:00 | 737.6333 | 6.8059 | 6.267 | 4.1562 | 190.6946 | 8.335 | 4.0825 | 190.8514 | 8.2333
2015-12-09 06:00 | 738.1833 | 7.228 | 7.147 | 4.3978 | 219.8595 | 8.944 | 4.3332 | 219.7069 | 8.7965
2015-12-09 07:00 | 738.4917 | 6.6403 | 5.867 | 3.6152 | 224.2744 | 8.6551 | 3.5724 | 224.1433 | 8.4748
2015-12-09 08:00 | 738.6417 | 6.5918 | 5.667 | 3.4992 | 226.2225 | 9.4569 | 3.4441 | 226.1676 | 9.2536
2015-12-09 09:00 | 739.1917 | 7.8326 | 5.947 | 3.9127 | 238.36 | 10.6482 | 3.8416 | 238.6755 | 10.3419
2015-12-09 10:00 | 739.3167 | 9.18 | 6.107 | 4.0892 | 236.7853 | 10.8389 | 4.0161 | 237.0365 | 10.4706
2015-12-09 11:00 | 738.9583 | 10.3117 | 5.827 | 4.063 | 235.0591 | 11.1743 | 3.983 | 235.3144 | 10.9692
2015-12-09 12:00 | 738.8083 | 11.0942 | 7.347 | 4.1561 | 225.8887 | 12.1411 | 4.0401 | 225.1274 | 11.8793
2015-12-09 13:00 | 738.9083 | 11.8867 | 7.587 | 4.5068 | 228.8494 | 11.0756 | 4.4 | 228.4513 | 10.6504
2015-12-09 14:00 | 738.85 | 12.1092 | 6.587 | 4.3881 | 221.6601 | 10.5106 | 4.2897 | 221.5895 | 10.3779
2015-12-09 15:00 | 739.4583 | 11.12 | 6.427 | 3.8617 | 231.3269 | 10.8193 | 3.7496 | 230.0685 | 10.5278
2015-12-09 16:00 | 739.8917 | 9.845 | 4.267 | 2.5915 | 230.0489 | 9.1611 | 2.5473 | 230.2483 | 9.0177
2015-12-09 17:00 | 740.1667 | 8.8192 | 4.747 | 3.0145 | 210.3343 | 6.9697 | 2.9891 | 210.2997 | 6.9222
2015-12-09 18:00 | 740.6083 | 8.3517 | 3.987 | 2.7438 | 214.0936 | 6.9137 | 2.7201 | 214.0118 | 6.8808
2015-12-09 19:00 | 740.875 | 7.9099 | 4.667 | 2.9183 | 215.0095 | 6.6768 | 2.8953 | 214.8632 | 6.6463
2015-12-09 20:00 | 740.8917 | 7.966 | 5.467 | 3.5981 | 213.7926 | 8.3257 | 3.5578 | 213.7425 | 8.2787
2015-12-09 21:00 | 740.8333 | 7.4612 | 5.147 | 3.405 | 208.2918 | 8.0428 | 3.3495 | 208.2108 | 7.9815
2015-12-09 22:00 | 740.7583 | 7.0328 | 5.587 | 3.4404 | 196.4901 | 8.1487 | 3.4004 | 196.8099 | 8.1276
2015-12-09 23:00 | 740.6833 | 6.166 | 4.987 | 3.0168 | 183.9848 | 9.8242 | 2.8621 | 186.4842 | 9.6713
2015-12-10 | 740.3583 | 5.5672 | 6.227 | 3.4061 | 189.0111 | 8.2066 | 3.3282 | 190.172 | 8.1462
2015-12-10 01:00 | 740.0917 | 5.9278 | 6.027 | 3.8679 | 185.105 | 8.0416 | 3.7751 | 184.8963 | 8.0324
2015-12-10 02:00 | 739.5583 | 5.1179 | 5.707 | 4.0593 | 175.5404 | 7.7165 | 4.015 | 175.3149 | 7.6783
2015-12-10 03:00 | 738.9917 | 5.7915 | 6.707 | 4.7747 | 182.0584 | 7.5586 | 4.7264 | 182.0403 | 7.5332
2015-12-10 04:00 | 738.675 | 7.0532 | 9.59 | 5.4742 | 183.8084 | 8.0204 | 5.4172 | 184.0227 | 8.0034
2015-12-10 05:00 | 738.5 | 7.8212 | 9.55 | 5.7179 | 181.859 | 7.8212 | 5.6574 | 181.9046 | 7.7778
2015-12-10 06:00 | 737.7667 | 8.0903 | 10.35 | 6.2955 | 177.8845 | 8.118 | 6.2209 | 177.9043 | 8.061
2015-12-10 07:00 | 737.2917 | 8.3442 | 11.95 | 6.6443 | 179.182 | 9.2978 | 6.5523 | 178.9768 | 9.216
2015-12-10 08:00 | 736.4583 | 9.215 | 12.75 | 7.4742 | 181.1749 | 8.7025 | 7.3828 | 181.1003 | 8.5968
2015-12-10 09:00 | 735.6333 | 10.515 | 13.91 | 8.5877 | 184.3834 | 9.3371 | 8.4658 | 184.3114 | 9.2644
2015-12-10 10:00 | 735.05 | 11.8267 | 15.75 | 9.0707 | 189.6004 | 9.3522 | 8.9403 | 189.7005 | 9.282
2015-12-10 11:00 | 734.375 | 13.3633 | 15.91 | 9.3661 | 191.8007 | 9.5738 | 9.228 | 191.8327 | 9.5634
2015-12-10 12:00 | 733.6417 | 14.3225 | 18.26 | 10.2325 | 192.9752 | 9.2932 | 10.0962 | 193.1002 | 9.243
2015-12-10 13:00 | 733.125 | 14.31 | 18.98 | 9.6575 | 199.5424 | 9.4988 | 9.5068 | 199.6618 | 9.3601
2015-12-10 14:00 | 733.1583 | 13.9 | 15.91 | 9.3783 | 198.2332 | 9.8065 | 9.2343 | 198.4417 | 9.7448
2015-12-10 15:00 | 733.35 | 13.4125 | 14.91 | 8.9592 | 201.0995 | 9.5323 | 8.8247 | 201.3866 | 9.3882
2015-12-10 16:00 | 734.3667 | 12.9808 | 18.66 | 9.2936 | 229.3522 | 11.1042 | 8.9775 | 230.6128 | 10.8691
2015-12-10 17:00 | 735.5833 | 11.6425 | 17.06 | 9.1385 | 239.1749 | 11.393 | 8.9541 | 239.4311 | 11.1124
2015-12-10 18:00 | 736.2167 | 10.0108 | 13.39 | 6.261 | 233.507 | 11.9077 | 6.0603 | 234.2843 | 11.6141
2015-12-10 19:00 | 736.5667 | 9.09 | 9.59 | 6.032 | 217.3505 | 8.2977 | 5.9641 | 217.542 | 8.1898
2015-12-10 20:00 | 736.7417 | 8.6342 | 9.39 | 5.583 | 210.1361 | 8.4335 | 5.4903 | 209.9754 | 8.3923
2015-12-10 21:00 | 736.6917 | 8.8958 | 11.11 | 6.8732 | 210.3922 | 9.1157 | 6.7869 | 210.4208 | 8.9902
2015-12-10 22:00 | 736.75 | 8.8867 | 13.03 | 7.3376 | 214.5585 | 9.3806 | 7.2283 | 214.5441 | 9.2789
2015-12-10 23:00 | 737.05 | 8.2817 | 10.11 | 6.0004 | 221.4757 | 8.8484 | 5.93 | 221.5221 | 8.7095
2015-12-11 | 737.1417 | 7.7862 | 7.427 | 4.8471 | 211.8009 | 8.8171 | 4.765 | 212.0981 | 8.7121
2015-12-11 01:00 | 737.5583 | 7.3627 | 6.627 | 4.5508 | 203.0264 | 9.4643 | 4.483 | 203.2511 | 9.3795
2015-12-11 02:00 | 737.6167 | 7.2012 | 7.027 | 4.2766 | 204.4303 | 9.8557 | 4.1903 | 204.5368 | 9.6301
2015-12-11 03:00 | 737.65 | 7.3272 | 7.667 | 4.6037 | 213.7505 | 10.2612 | 4.5327 | 214.0283 | 9.9984
2015-12-11 04:00 | 738.3417 | 7.1907 | 7.187 | 3.1458 | 237.82 | 13.7941 | 2.9622 | 238.0153 | 13.2856
2015-12-11 05:00 | 739.1917 | 8.0192 | 7.267 | 4.1836 | 239.1933 | 10.87 | 4.1102 | 239.6041 | 10.5274
2015-12-11 06:00 | 739.7833 | 7.2782 | 5.187 | 3.1764 | 220.3942 | 10.21 | 3.0876 | 220.813 | 10.008
2015-12-11 07:00 | 740.5417 | 6.4376 | 4.987 | 2.8254 | 204.3254 | 7.6143 | 2.7426 | 204.5698 | 7.5278
2015-12-11 08:00 | 741.225 | 6.4213 | 5.067 | 3.1465 | 190.5667 | 8.0678 | 3.1137 | 190.5543 | 7.9819
2015-12-11 09:00 | 741.9083 | 7.0756 | 5.907 | 3.3174 | 192.9561 | 9.3652 | 3.2623 | 192.9441 | 9.2103
2015-12-11 10:00 | 742.1417 | 8.1259 | 6.347 | 3.5413 | 216.1383 | 10.1442 | 3.4339 | 215.2951 | 9.8261
2015-12-11 11:00 | 741.9583 | 9.4492 | 4.307 | 2.9161 | 211.4584 | 10.1229 | 2.7925 | 211.4793 | 9.924
2015-12-11 12:00 | 741.7583 | 11.0658 | 4.227 | 2.3644 | 196.7276 | 17.9991 | 2.2452 | 196.1007 | 17.666
2015-12-11 13:00 | 741.3833 | 11.7217 | 2.708 | 1.4259 | 131.2921 | 25.2709 | 1.2084 | 133.2862 | 22.9874
2015-12-11 14:00 | 741.3583 | 12.2533 | 3.748 | 1.6383 | 108.8442 | 24.002 | 1.2845 | 115.051 | 22.6838
2015-12-11 15:00 | 741.8833 | 10.195 | 2.548 | 0.91717 | 84.4272 | 11.5641 | 0.84947 | 84.9603 | 11.1615
2015-12-11 16:00 | 742.0333 | 9.6333 | 2.028 | 0.805 | 113.0511 | 12.3846 | 0.72605 | 112.998 | 12.3194
2015-12-11 17:00 | 742.075 | 9.8208 | 3.868 | 1.5824 | 125.9483 | 16.1481 | 1.5003 | 126.9483 | 15.8038
2015-12-11 18:00 | 741.9417 | 10.3717 | 3.788 | 1.4899 | 106.7429 | 18.5379 | 1.3801 | 108.8794 | 18.1353
2015-12-11 19:00 | 741.875 | 11.3583 | 4.187 | 1.7921 | 115.7684 | 21.4699 | 1.674 | 116.3731 | 20.4668
2015-12-11 20:00 | 742.025 | 10.5567 | 2.628 | 1.4521 | 56.2545 | 15.2926 | 1.1357 | 52.3031 | 14.6566
2015-12-11 21:00 | 741.8 | 10.1775 | 2.988 | 1.3074 | 95.4613 | 15.8466 | 1.0767 | 98.2118 | 15.3322
2015-12-11 22:00 | 741.5583 | 12.0783 | 3.948 | 2.1378 | 153.9159 | 18.7777 | 2.014 | 155.3053 | 17.2459
2015-12-11 23:00 | 741.6417 | 12.8092 | 5.347 | 2.8991 | 168.966 | 11.3861 | 2.8364 | 169.2641 | 11.1751
2015-12-12 | 741.5917 | 12.9158 | 4.467 | 2.6772 | 176.1114 | 8.7005 | 2.6063 | 176.4703 | 8.5791
2015-12-12 01:00 | 741.4833 | 13.0683 | 3.068 | 1.8404 | 167.7451 | 12.6591 | 1.7684 | 169.9279 | 11.7241
2015-12-12 02:00 | 741.6417 | 13.2992 | 3.468 | 2.0436 | 167.2774 | 12.6743 | 1.969 | 170.0967 | 12.338
2015-12-12 03:00 | 741.75 | 13.465 | 3.987 | 2.7357 | 177.0092 | 7.6439 | 2.7008 | 176.9711 | 7.6029
2015-12-12 04:00 | 742.1833 | 13.9583 | 4.347 | 2.9629 | 186.8564 | 8.0475 | 2.9242 | 186.7494 | 8.0122
2015-12-12 05:00 | 742.5917 | 13.9675 | 4.547 | 3.1469 | 180.9434 | 7.323 | 3.1141 | 180.7373 | 7.2809
2015-12-12 06:00 | 743.4083 | 13.8325 | 3.828 | 2.2453 | 197.4609 | 8.0013 | 2.1789 | 196.2006 | 7.9774
2015-12-12 07:00 | 743.7083 | 13.5683 | 3.708 | 2.3232 | 201.4868 | 8.5405 | 2.2319 | 201.6284 | 8.5251
2015-12-12 08:00 | 744.1083 | 13.7592 | 3.508 | 2.1239 | 205.9089 | 10.1504 | 2.0847 | 206.3623 | 10.0444
2015-12-12 09:00 | 744.7167 | 13.8592 | 4.627 | 2.8598 | 198.6933 | 10.1921 | 2.7961 | 198.6897 | 10.0683
2015-12-12 10:00 | 745.1333 | 13.6058 | 6.027 | 3.2331 | 199.4181 | 9.8148 | 3.1705 | 198.846 | 9.6413
2015-12-12 11:00 | 745.1583 | 13.8558 | 5.667 | 3.3403 | 214.902 | 10.5642 | 3.2428 | 215.1673 | 10.2341
2015-12-12 12:00 | 745.175 | 14.6542 | 6.187 | 3.5209 | 208.3856 | 11.2698 | 3.3977 | 208.4494 | 11.2024
2015-12-12 13:00 | 745.025 | 14.4342 | 6.067 | 2.7154 | 232.8179 | 10.4948 | 2.6231 | 232.4494 | 10.2574
2015-12-12 14:00 | 745.2917 | 14.13 | 2.428 | 1.4048 | 199.2437 | 12.5891 | 1.2141 | 200.2947 | 12.3171
2015-12-12 15:00 | 745.6333 | 13.1225 | 3.308 | 1.3377 | 92.7654 | 14.5916 | 1.0988 | 90.6247 | 14.1514
2015-12-12 16:00 | 745.725 | 10.555 | 2.628 | 1.4087 | 48.944 | 17.7914 | 1.2749 | 48.2369 | 16.974
2015-12-12 17:00 | 745.6917 | 10.8317 | 2.428 | 1.1592 | 67.4478 | 18.4929 | 0.9464 | 69.1434 | 17.5248
2015-12-12 18:00 | 745.9083 | 11.0983 | 2.348 | 1.5108 | 16.9643 | 10.7304 | 1.4311 | 13.9003 | 10.3641
2015-12-12 19:00 | 745.8917 | 10.3333 | 2.748 | 1.2532 | 17.8757 | 10.9001 | 1.1704 | 12.2211 | 10.7831
2015-12-12 20:00 | 745.7 | 10.8758 | 1.148 | 0.44458 | 52.7008 | 11.6825 | 0.40893 | 63.629 | 11.0828
2015-12-12 21:00 | 745.7 | 11.5992 | 0.988 | 0.14108 | 70.3911 | 13.096 | 0.11744 | 122.1778 | 12.4435
2015-12-12 22:00 | 745.3417 | 13.0642 | 3.908 | 1.4842 | 133.7374 | 16.8125 | 1.2381 | 149.8847 | 16.7317
2015-12-12 23:00 | 745.2083 | 16.03 | 5.827 | 3.3147 | 177.8833 | 9.1185 | 3.2592 | 177.3628 | 9.0774

## ST_CenterEast
South Terminal - Center East Site
DATE TIME | APM10 ug/m3
2015-12-06 | 21
2015-12-06 01:00 | 20
2015-12-06 02:00 | 19
2015-12-06 03:00 | 20
2015-12-06 04:00 | 22
2015-12-06 05:00 | 29
2015-12-06 06:00 | 20
2015-12-06 07:00 | 22
2015-12-06 08:00 | 19
2015-12-06 09:00 | 18
2015-12-06 10:00 | 24
2015-12-06 11:00 | 19
2015-12-06 12:00 | 21
2015-12-06 13:00 | 18
2015-12-06 14:00 | 20
2015-12-06 15:00 | 16
2015-12-06 16:00 | 21
2015-12-06 17:00 | 23
2015-12-06 18:00 | 31
2015-12-06 19:00 | 26
2015-12-06 20:00 | 31
2015-12-06 21:00 | 43
2015-12-06 22:00 | 44
2015-12-06 23:00 | 47
2015-12-07 | 55
2015-12-07 01:00 | 43
2015-12-07 02:00 | 36
2015-12-07 03:00 | 37
2015-12-07 04:00 | 38
2015-12-07 05:00 | 20
2015-12-07 06:00 | 25
2015-12-07 07:00 | 27
2015-12-07 08:00 | 24
2015-12-07 09:00 | 23
2015-12-07 10:00 | 52
2015-12-07 11:00 | 45
2015-12-07 12:00 | 39
2015-12-07 13:00 | 27
2015-12-07 14:00 | 31
2015-12-07 15:00 | 36
2015-12-07 16:00 | 27
2015-12-07 17:00 | 31
2015-12-07 18:00 | 21
2015-12-07 19:00 | 18
2015-12-07 20:00 | 20
2015-12-07 21:00 | 22
2015-12-07 22:00 | 21
2015-12-07 23:00 | 18
2015-12-08 | 20
2015-12-08 01:00 | 21
2015-12-08 02:00 | 20
2015-12-08 03:00 | 16
2015-12-08 04:00 | 14
2015-12-08 05:00 | 16
2015-12-08 06:00 | 19
2015-12-08 07:00 | 37
2015-12-08 08:00 | 31
2015-12-08 09:00 | 45
2015-12-08 10:00 | 29
2015-12-08 11:00 | 24
2015-12-08 12:00 | 32
2015-12-08 13:00 | 45
2015-12-08 14:00 | 47
2015-12-08 15:00 | 33
2015-12-08 16:00 | 29
2015-12-08 17:00 | 24
2015-12-08 18:00 | 24
2015-12-08 19:00 | 22
2015-12-08 20:00 | 16
2015-12-08 21:00 | 19
2015-12-08 22:00 | 16
2015-12-08 23:00 | 14
2015-12-09 | 16
2015-12-09 01:00 | 19
2015-12-09 02:00 | 27
2015-12-09 03:00 | 34
2015-12-09 04:00 | 31
2015-12-09 05:00 | 27
2015-12-09 06:00 | 23
2015-12-09 07:00 | 32
2015-12-09 08:00 | 30
2015-12-09 09:00 | 23
2015-12-09 10:00 | 24
2015-12-09 11:00 | 26
2015-12-09 12:00 | 27
2015-12-09 13:00 | 28
2015-12-09 14:00 | 41
2015-12-09 15:00 | 29
2015-12-09 16:00 | 27
2015-12-09 17:00 | 43
2015-12-09 18:00 | 32
2015-12-09 19:00 | 30
2015-12-09 20:00 | 22
2015-12-09 21:00 | 21
2015-12-09 22:00 | 13
2015-12-09 23:00 | 15
2015-12-10 | 20
2015-12-10 01:00 | 14
2015-12-10 02:00 | 14
2015-12-10 03:00 | 14
2015-12-10 04:00 | 16
2015-12-10 05:00 | 14
2015-12-10 06:00 | 37
2015-12-10 07:00 | 51
2015-12-10 08:00 | 52
2015-12-10 09:00 | 101
2015-12-10 10:00 | 64
2015-12-10 11:00 | 70
2015-12-10 12:00 | 79
2015-12-10 13:00 | 71
2015-12-10 14:00 | 41
2015-12-10 15:00 | 31
2015-12-10 16:00 | 57
2015-12-10 17:00 | 32
2015-12-10 18:00 | 4
2015-12-10 19:00 | 18
2015-12-10 20:00 | 10
2015-12-10 21:00 | 11
2015-12-10 22:00 | 18
2015-12-10 23:00 | 11
2015-12-11 | 14
2015-12-11 01:00 | 9
2015-12-11 02:00 | 10
2015-12-11 03:00 | 20
2015-12-11 04:00 | 12
2015-12-11 05:00 | 12
2015-12-11 06:00 | 13
2015-12-11 07:00 | 58
2015-12-11 08:00 | 81
2015-12-11 09:00 | 48
2015-12-11 10:00 | 38
2015-12-11 11:00 | 30
2015-12-11 12:00 | 30
2015-12-11 13:00 | 26
2015-12-11 14:00 | 15
2015-12-11 15:00 | 48
2015-12-11 16:00 | 44
2015-12-11 17:00 | 30
2015-12-11 18:00 | 31
2015-12-11 19:00 | 28
2015-12-11 20:00 | 22
2015-12-11 21:00 | 23
2015-12-11 22:00 | 23
2015-12-11 23:00 | 28
2015-12-12 | 32
2015-12-12 01:00 | 33
2015-12-12 02:00 | 26
2015-12-12 03:00 | 24
2015-12-12 04:00 | 22
2015-12-12 05:00 | 20
2015-12-12 06:00 | 25
2015-12-12 07:00 | 40
2015-12-12 08:00 | 65
2015-12-12 09:00 | 61
2015-12-12 10:00 | 47
2015-12-12 11:00 | 35
2015-12-12 12:00 | 20
2015-12-12 13:00 | 14
2015-12-12 14:00 | 22
2015-12-12 15:00 | 27
2015-12-12 16:00 | 49
2015-12-12 17:00 | 40
2015-12-12 18:00 | 45
2015-12-12 19:00 | 41
2015-12-12 20:00 | 35
2015-12-12 21:00 | 33
2015-12-12 22:00 | 24
2015-12-12 23:00 | 11

## ST_SW
South Terminal Southwest Site
DATE TIME | APM10 ug/m3
2015-12-06 | 25
2015-12-06 01:00 | 21
2015-12-06 02:00 | 21
2015-12-06 03:00 | 30
2015-12-06 04:00 | 30
2015-12-06 05:00 | 24
2015-12-06 06:00 | 24
2015-12-06 07:00 | 23
2015-12-06 08:00 | 21
2015-12-06 09:00 | 26
2015-12-06 10:00 | 27
2015-12-06 11:00 | 26
2015-12-06 12:00 | 20
2015-12-06 13:00 | 19
2015-12-06 14:00 | 21
2015-12-06 15:00 | 16
2015-12-06 16:00 | 22
2015-12-06 17:00 | 34
2015-12-06 18:00 | 23
2015-12-06 19:00 | 29
2015-12-06 20:00 | 31
2015-12-06 21:00 | 36
2015-12-06 22:00 | 46
2015-12-06 23:00 | 45
2015-12-07 | 52
2015-12-07 01:00 | 44
2015-12-07 02:00 | 36
2015-12-07 03:00 | 40
2015-12-07 04:00 | 35
2015-12-07 05:00 | 22
2015-12-07 06:00 | 25
2015-12-07 07:00 | 23
2015-12-07 08:00 | 24
2015-12-07 09:00 | 27
2015-12-07 10:00 | 50
2015-12-07 11:00 | 41
2015-12-07 12:00 | 37
2015-12-07 13:00 | 39
2015-12-07 14:00 | 36
2015-12-07 15:00 | 31
2015-12-07 16:00 | 26
2015-12-07 17:00 | 29
2015-12-07 18:00 | 23
2015-12-07 19:00 | 23
2015-12-07 20:00 | 23
2015-12-07 21:00 | 21
2015-12-07 22:00 | 20
2015-12-07 23:00 | 25
2015-12-08 | 21
2015-12-08 01:00 | 22
2015-12-08 02:00 | 19
2015-12-08 03:00 | 17
2015-12-08 04:00 | 16
2015-12-08 05:00 | 19
2015-12-08 06:00 | 17
2015-12-08 07:00 | 41
2015-12-08 08:00 | 32
2015-12-08 09:00 | 38
2015-12-08 10:00 | 31
2015-12-08 11:00 | 29
2015-12-08 12:00 | 31
2015-12-08 13:00 | 34
2015-12-08 14:00 | 40
2015-12-08 15:00 | 26
2015-12-08 16:00 | 22
2015-12-08 17:00 | 23
2015-12-08 18:00 | 26
2015-12-08 19:00 | 26
2015-12-08 20:00 | 33
2015-12-08 21:00 | 21
2015-12-08 22:00 | 24
2015-12-08 23:00 | 105
2015-12-09 | 34
2015-12-09 01:00 | 93
2015-12-09 02:00 | 14
2015-12-09 03:00 | 17
2015-12-09 04:00 | 18
2015-12-09 05:00 | 29
2015-12-09 06:00 | 19
2015-12-09 07:00 | 27
2015-12-09 08:00 | 28
2015-12-09 09:00 | 24
2015-12-09 10:00 | 23
2015-12-09 11:00 | 26
2015-12-09 12:00 | 28
2015-12-09 13:00 | 17
2015-12-09 14:00 | 31
2015-12-09 15:00 | 25
2015-12-09 16:00 | 27
2015-12-09 17:00 | 34
2015-12-09 18:00 | 29
2015-12-09 19:00 | 27
2015-12-09 20:00 | 22
2015-12-09 21:00 | 18
2015-12-09 22:00 | 27
2015-12-09 23:00 | 19
2015-12-10 | 18
2015-12-10 01:00 | 23
2015-12-10 02:00 | 12
2015-12-10 03:00 | 12
2015-12-10 04:00 | 19
2015-12-10 05:00 | 12
2015-12-10 06:00 | 27
2015-12-10 07:00 | 57
2015-12-10 08:00 | 69
2015-12-10 09:00 | 102
2015-12-10 10:00 | 88
2015-12-10 11:00 | 118
2015-12-10 12:00 | 97
2015-12-10 13:00 | 71
2015-12-10 14:00 | 49
2015-12-10 15:00 | 35
2015-12-10 16:00 | 37
2015-12-10 17:00 | 24
2015-12-10 18:00 | 6
2015-12-10 19:00 | 8
2015-12-10 20:00 | 20
2015-12-10 21:00 | 9
2015-12-10 22:00 | 8
2015-12-10 23:00 | 11
2015-12-11 | 10
2015-12-11 01:00 | 10
2015-12-11 02:00 | 18
2015-12-11 03:00 | 4
2015-12-11 04:00 | 8
2015-12-11 05:00 | 13
2015-12-11 06:00 | 16
2015-12-11 07:00 | 37
2015-12-11 08:00 | 58
2015-12-11 09:00 | 55
2015-12-11 10:00 | 47
2015-12-11 11:00 | 32
2015-12-11 12:00 | 33
2015-12-11 13:00 | 54
2015-12-11 14:00 | 42
2015-12-11 15:00 | 35
2015-12-11 16:00 | 89
2015-12-11 17:00 | 31
2015-12-11 18:00 | 30
2015-12-11 19:00 | 28
2015-12-11 20:00 | 40
2015-12-11 21:00 | 29
2015-12-11 22:00 | 29
2015-12-11 23:00 | 33
2015-12-12 | 36
2015-12-12 01:00 | 34
2015-12-12 02:00 | 31
2015-12-12 03:00 | 27
2015-12-12 04:00 | 28
2015-12-12 05:00 | 25
2015-12-12 06:00 | 25
2015-12-12 07:00 | 27
2015-12-12 08:00 | 34
2015-12-12 09:00 | 49
2015-12-12 10:00 | 33
2015-12-12 11:00 | 22
2015-12-12 12:00 | 22
2015-12-12 13:00 | 20
2015-12-12 14:00 | 27
2015-12-12 15:00 | 29
2015-12-12 16:00 | 45
2015-12-12 17:00 | 46
2015-12-12 18:00 | 46
2015-12-12 19:00 | 42
2015-12-12 20:00 | 33
2015-12-12 21:00 | 36
2015-12-12 22:00 | 18
2015-12-12 23:00 | 17

## Legend
DATE TIME | Date of reported data and time at onset of hourly average
APM10 ug/m3 | PM10 continuous monitor data, EPA std conditions, micrograms per cubic meter
PRESS mmHg | Barometric Pressure, millimeters of mercury
TEMP DEG C | Ambient Temperature, degrees Celsius
GUST m/s | One second wind gust, maximum value for the hour, meters per second
WSPD m/s | Scalar wind speed, meters per second
WDIR deg | Scalar wind direction, degrees
HZD-S deg | Standard deviation of scalar wind direction, degrees
RESSP m/s | Resultant wind speed, meters per second
RESDR deg | Resultant wind direction, degrees
HZD-V deg | Standard deviation of resultant wind direction, degrees