## Summary
Count of Unique Landfills in this File | Count of Unique Projects in this File
42 | 41
Current Project Status field options:
Operational: Project or expansion is online
Construction: Construction is underway on project or expansion
Planned: Planning is underway on project or expansion (between Candidate and Construction)
Shutdown: Project or expansion has ceased operations
Candidate: Landfill is accepting waste or has been closed for five years or less, has at least one million tons of waste, and does not have an operational, under-construction, or planned project; can also be designated based on actual interest by the site.
Potential: Landfill does not meet the candidate definition, whether because of complete or incomplete data. However, the landfill could have LFG energy project potential based on site-specific needs or if data were complete.
Other: Landfill that previously had status of Potential with waste in place less than 500,000 tons and closed >15 years.
This information is from the LMOP Landfill/Project database. Information in the database is compiled from a variety of sources by voluntary submittal, is updated periodically, and can change. LMOP can not guarantee the validity of the data.

## LMOP Database
GHGRP ID | Landfill ID | Landfill Name | State | City | County | Ownership Type | Landfill Owner Organization(s) | Waste in Place (tons) | Waste in Place Year | LFG Collection System In Place? | LFG Collected (mmscfd) | LFG Flared (mmscfd) | Project ID | Current Project Status | Project Name | Project Start Date | LFG Energy Project Type | Project Type Category | LFG Use Details | LFG Flow to Project (mmscfd) | End User(s) | Project Developer(s) | Current Year Emission Reductions (MMTCO2e/yr) - Direct | Current Year Emission Reductions (MMTCO2e/yr) - Avoided
1006026 | 2052 | Fort Smith SLF | AR | City of Fort Smith | Sebastian | Public | City of Fort Smith Department of Sanitation, AR | 8552007 | 2013 | Yes | 3.312 | 0 | 180840-0 | Operational | Project #2 | 2006-05-11 | High Btu | Upgraded LFG | Physical solvent process with patented enhancements to remove CO2, H2O, H2S, siloxanes, and other impurities from LFG; gas used down the pipeline for vehicle fuel | 2.16 | Arkansas Oklahoma Gas Corporation | Cambrian Energy Development LLC; Morrow Renewables, LLC | 0.1891 | 0.0187
1006026 | 2052 | Fort Smith SLF | AR | City of Fort Smith | Sebastian | Public | City of Fort Smith Department of Sanitation, AR | 8552007 | 2013 | Yes | 3.312 | 0 | 180840-1 | Shutdown | Project #2, Expansion #1 | 2009-01-01 | High Btu | Upgraded LFG | Physical solvent process with patented enhancements to remove CO2, H2O, H2S, siloxanes, and other impurities from LFG; gas used down the pipeline for vehicle fuel | 1.152 | Arkansas Oklahoma Gas Corporation | Cambrian Energy Development LLC; Morrow Renewables, LLC | 0 | 0
1006026 | 2052 | Fort Smith SLF | AR | City of Fort Smith | Sebastian | Public | City of Fort Smith Department of Sanitation, AR | 8552007 | 2013 | Yes | 3.312 | 0 | 180840-2 | Operational | Project #1, De-Expansion #1 | 2014-01-01 | High Btu | Upgraded LFG | Physical solvent process with patented enhancements to remove CO2, H2O, H2S, siloxanes, and other impurities from LFG; gas used down the pipeline for vehicle fuel | 0.64 | Arkansas Oklahoma Gas Corporation | Cambrian Energy Development LLC; Morrow Renewables, LLC | 0.056 | 0.0055
1007699 | 39 | Altamont Landfill & Resource Recovery Facility | CA | Livermore | Alameda | Private | Waste Management, Inc. | 57857143 | 2009 | Yes | 8.33 |  | 180977-0 | Operational | Project #3 | 2009-09-01 | Renewable LNG | Upgraded LFG | System's multi-step process includes compression, chilling, adsorption, and membranes to remove impurities, cleaned LFG is then cooled to -260 deg F to create 13,000 gal/day LNG for garbage trucks | 3.6 | Waste Management, Inc. | High Mountain Fuels | 0.3152 | 0.0437
1004123 | 1929 | Sonoma County Central Disposal Site | CA | Petaluma | Sonoma | Public | Sonoma County, CA | 15000000 | 2002 | Yes |  |  | 180781-0 | Operational | Project #2 | 2009-09-30 | Renewable CNG | Upgraded LFG | LFG-to-CNG to fuel county buses; pilot scale project | 1.24 | Sonoma County, CA | SCS Engineers | 0.1086 | 0.0151
1006229 | 467 | Live Oak LF | GA | Conley | DeKalb | Private | Waste Management, Inc. | 5266000 | 2002 | Yes | 6.48 |  | 532-0 | Operational | Project #1 | 2009-03-01 | High Btu | Upgraded LFG | Air Liquide process for upgrade to 2,300 scfm of high Btu gas; uses membrane technology | 6.48 | AGL Resources | Jacoby Energy Development, Inc. | 0.5673 | 0.056
1005638 | 448 | Seminole Road MSW Landfill | GA | Ellenwood | DeKalb | Public | DeKalb County Sanitation, GA | 11538656 | 2013 | Yes | 3.168 | 0.792 | 181023-0 | Operational | Project #2a | 2013-02-26 | Renewable CNG | Upgraded LFG | Converts LFG to renewable natural gas (RNG) for onsite CNG fueling station for 40 county garbage trucks and also public use | 0.198 | DeKalb County Sanitation, GA | DeKalb County Sanitation, GA | 0.0173 | 0.0024
1005638 | 448 | Seminole Road MSW Landfill | GA | Ellenwood | DeKalb | Public | DeKalb County Sanitation, GA | 11538656 | 2013 | Yes | 3.168 | 0.792 | 200582-0 | Operational | Project #2b | 2013-02-26 | High Btu | Upgraded LFG | Converts LFG to renewable natural gas (RNG) for injection into natural gas pipeline | 0.594 | Gas South | DeKalb County Sanitation, GA | 0.052 | 0.0051
1008269 | 516 | Milam Recycling and Disposal Facility | IL | East St. Louis | St. Clair | Private | Waste Management, Inc. | 16000000 | 2004 | Yes | 5.05 |  | 200546-0 | Operational | Project #2 | 2015-03-01 | High Btu | Upgraded LFG | Facility designed to process 3,500 cfm LFG, processed RNG is injected into pipeline for withdrawal at other locations including some WM facilities | 2.52 | Ameren Corp. | WM Illinois Renewable Energy, LLC | 0.2206 | 0.0218
1008269 | 516 | Milam Recycling and Disposal Facility | IL | East St. Louis | St. Clair | Private | Waste Management, Inc. | 16000000 | 2004 | Yes | 5.05 |  | 200546-1 | Planned | Project #2, Expansion #1 | 2016-12-31 | High Btu | Upgraded LFG |  |  |  | WM Illinois Renewable Energy, LLC | 0 | 0
1004065 | 640 | Johnson County LF | KS | Shawnee | Johnson | Private | Deffenbaugh Industries, Inc. | 30000000 | 2008 | Yes | 7 | 0 | 710-0 | Operational | Project #1 | 2001-09-01 | High Btu | Upgraded LFG | Selexol technology | 4.9 | Panhandle Eastern Pipeline | Energy Investors Funds Group; Enpower Corp. | 0.429 | 0.0424
1004065 | 640 | Johnson County LF | KS | Shawnee | Johnson | Private | Deffenbaugh Industries, Inc. | 30000000 | 2008 | Yes | 7 | 0 | 710-1 | Operational | Project #1, Expansion #1 | 2008-01-01 | High Btu | Upgraded LFG | Selexol technology | 2.1 | Panhandle Eastern Pipeline | Energy Investors Funds Group; Enpower Corp. | 0.1838 | 0.0182
1002476 | 712 | Jefferson Davis Parish Landfill | LA | Welsh | Jefferson Davis | Public | Jefferson Davis Parish Sanitary Landfill Commission, LA | 9584310 | 2013 | Yes | 2.14 | 0 | 782-0 | Operational | Project #1 | 2008-04-01 | High Btu | Upgraded LFG | Physical solvent process with patented enhancements to remove CO2, H2O, H2S, siloxanes, and other impurities from LFG; gas used down the pipeline for vehicle fuel | 2.14 | Gulf South Pipeline | Morrow Renewables, LLC | 0.1873 | 0.0185
1005717 | 2289 | River Birch Landfill | LA | Westwego | Jefferson | Private | River Birch, Inc. | 7500000 | 2007 | Yes |  |  | 180379-0 | Operational | Project #1 | 2010-06-01 | High Btu | Upgraded LFG | Air-Liquide membrane separation produces 2,000 MMBtu/day of 950 Btu/scf gas, biological sulfur removal system named Thiopak | 5.76 | Atmos Energy Corporation | River Birch, Inc. | 0.5042 | 0.0498
1005717 | 2289 | River Birch Landfill | LA | Westwego | Jefferson | Private | River Birch, Inc. | 7500000 | 2007 | Yes |  |  | 180379-1 | Operational | Project #1, Expansion #1 | 2014-01-01 | High Btu | Upgraded LFG | Air-Liquide plant, now 3,400 MMBtu/day | 0.576 | Atmos Energy Corporation | River Birch, Inc. | 0.0504 | 0.005
1005717 | 2289 | River Birch Landfill | LA | Westwego | Jefferson | Private | River Birch, Inc. | 7500000 | 2007 | Yes |  |  | 180379-2 | Planned | Project #1, Expansion #2 | 2017-03-31 | High Btu | Upgraded LFG |  | 3.024 |  | River Birch, Inc. | 0 | 0
1006238 | 714 | St. Landry Parish LF | LA | Washington | St. Landry | Public | St. Landry Parish Solid Waste Disposal District, LA | 2750000 | 2012 | Yes | 0.358 | 0.288 | 784-0 | Operational | Project #1 | 2012-04-13 | Renewable CNG | Upgraded LFG | 50 cfm LFG produces 250 gallons of gasoline equivalent (GGE)/day; convert LFG to bioCNG vehicle fuel for 1 passenger van, 5 sedans & 10 fleet pick-up trucks | 0.07 | St. Landry Parish Solid Waste Disposal District, LA | St. Landry Parish Solid Waste Disposal District, LA | 0.0061 | 0.0008
1006238 | 714 | St. Landry Parish LF | LA | Washington | St. Landry | Public | St. Landry Parish Solid Waste Disposal District, LA | 2750000 | 2012 | Yes | 0.358 | 0.288 | 784-1 | Operational | Project #1, Expansion #1 | 2015-10-31 | Renewable CNG | Upgraded LFG | With expansion, total production now ~630 GGE/day | 0.2 | Progressive Waste Solutions Ltd. | St. Landry Parish Solid Waste Disposal District, LA | 0.0175 | 0.0024
1003592 | 12143 | Richfield Landfill | MI | Davison | Genesee | Private | Richfield Landfill, Inc. |  |  | Yes | 0.9 |  | 181114-0 | Operational | Project #1 | 2006-11-01 | High Btu | Upgraded LFG | uses UOP Separex Membrane Technology to create pipeline quality natural gas from LFG | 0.9 | Great Lakes Gas Transmission Company | Blue Skies Energy, LLC | 0.0788 | 0.0078
1003601 | 1885 | Riverview Land Preserve | MI | Riverview | Wayne | Public | City of Riverview, MI | 21523745 | 2008 | Yes | 6.12 | 1.08 | 200447-0 | Operational | Project #2 | 2013-04-01 | Renewable CNG | Upgraded LFG | 100 cfm LFG yields 450-500 GGE/day CNG for City vehicles | 0.14 | City of Riverview, MI | City of Riverview, MI | 0.0123 | 0.0017
1003687 | 1855 | Sauk Trail Hills Landfill | MI | Canton | Wayne | Private | Republic Services, Inc. | 3000000 | 1999 | Yes | 4.6 |  | 181068-0 | Operational | Project #2 | 2013-08-20 | High Btu | Upgraded LFG | (2) Totara+ LFG upgrading systems, when fully operational project should supply 6 million diesel GGE per year | 4.6 | DTE Energy | Clean Energy Renewable Fuels | 0.4027 | 0.0398
1007831 | 1940 | Westside Recycling and Disposal Facility | MI | Three Rivers | St. Joseph | Private | Waste Management, Inc. | 3000000 | 2001 | Yes | 2.5 |  | 167016-0 | Operational | Project #1 | 1999-01-01 | High Btu | Upgraded LFG | Gas is purified with the Kryosol process to pipeline quality standards | 2.5 | DTE Energy | DTE Biomass Energy | 0.2189 | 0.0216
1000477 | 2141 | Billings City Landfill | MT | Billings | Yellowstone | Public | City of Billings, MT | 5000000 | 2009 | Yes | 0.895 |  | 180208-0 | Operational | Project #1 | 2010-12-07 | High Btu | Upgraded LFG | Guild PSA Stage #1 system removes water vapor, H2S, siloxanes, non-methane hydrocarbons, organic halides, and CO2; Molecular Gate PSA Stage #2 system removes nitrogen; tail gas is 46% CH4 and used in a genset to provide power to the facility | 0.895 | Montana-Dakota Utilities Co. | LFG Technologies, Inc.; Montana-Dakota Utilities Co. | 0.0784 | 0.0077
1007879 | 1839 | Turnkey Recycling & Environmental Enterprises | NH | Rochester | Strafford | Private | Waste Management, Inc. | 8750000 | 1999 | Yes | 16.56 |  | 180214-0 | Operational | Project #4 | 2009-07-01 | High Btu | Upgraded LFG | SulfaTreat iron sponge removes S, Quest Air M-3100 PSA removes CO2, 12.7-mi pipeline takes 3,500 MMBtu/day processed gas to combined cycle CHP facility at UNH for use in a 7.9-MW CHP Siemens SGT300 turbine, excess gas to be used in 4.6-MW Solar turbine | 7.92 | University of New Hampshire | University of New Hampshire | 0.6933 | 0.0685
1002843 | 966 | Fresh Kills SLF | NY | Staten Island | Richmond | Public | New York City Bureau of Waste Disposal, NY | 108361626 | 1999 | Yes | 6.53 |  | 1037-0 | Shutdown | Project #1 | 1982-01-01 | High Btu | Upgraded LFG | Selexol technology, high Btu gas is typically 972 Btu/scf | 9.5 | National Grid Electric | Montauk Energy Capital | 0 | 0
1002843 | 966 | Fresh Kills SLF | NY | Staten Island | Richmond | Public | New York City Bureau of Waste Disposal, NY | 108361626 | 1999 | Yes | 6.53 |  | 1037-1 | Shutdown | Project #1, Expansion #1 | 2002-01-01 | High Btu | Upgraded LFG | creates ~5 mmscfd of processed pipeline quality gas using technology called Selexol by Union Carbide Corporation, high Btu gas is typically 972 Btu/scf | 4.5 | National Grid Electric | Montauk Energy Capital | 0 | 0
1002843 | 966 | Fresh Kills SLF | NY | Staten Island | Richmond | Public | New York City Bureau of Waste Disposal, NY | 108361626 | 1999 | Yes | 6.53 |  | 1037-2 | Operational | Project #1, De-Expansion #1 | 2010-01-01 | High Btu | Upgraded LFG | creates ~3.5 mmscfd of high Btu gas | 6.97 | National Grid Electric | Montauk Energy Capital | 0.6102 | 0.0602
1004042 | 981 | Seneca Meadows SWMF | NY | Waterloo | Seneca | Private | Progressive Waste Solutions Ltd. | 24289318 | 2008 | Yes | 12.3 |  | 181144-0 | Operational | Project #2 | 2014-03-03 | High Btu | Upgraded LFG | LFG-to-RNG plant; initially 3,000 cfm LFG inlet / 1,425 cfm RNG outlet; design capacity is 6,000 cfm LFG inlet; uses Air Liquide-MEDAL system; end uses of piped gas include electricity generation at NG power plant and by fuel cells, CNG production | 4.32 | BP Energy Company; Sacramento Municipal Utility District (SMUD) | Aria Energy; Innovative Energy Systems, LLC | 0.3782 | 0.0373
1004042 | 981 | Seneca Meadows SWMF | NY | Waterloo | Seneca | Private | Progressive Waste Solutions Ltd. | 24289318 | 2008 | Yes | 12.3 |  | 181144-1 | Construction | Project #2, Expansion #1 | 2016-12-31 | High Btu | Upgraded LFG | LFG-to-RNG plant; design capacity is 6,000 cfm LFG inlet; uses Air Liquide-MEDAL system | 4.32 |  | Aria Energy | 0.3782 | 0.0373
1003787 | 1175 | Franklin County SLF | OH | Grove City | Franklin | Public | Solid Waste Authority of Central Ohio, OH | 16700762 | 2011 | Yes | 6.8 | 0 | 200849-0 | Operational | Project #3 | 2014-02-01 | High Btu | Upgraded LFG | pipeline quality gas is injected into nearby natural gas pipeline for sale to power company in CA, not at full capacity initially | 2.4 | Columbia Gas of Ohio; Sacramento Municipal Utility District (SMUD) | Aria Energy | 0.2101 | 0.0207
1003787 | 1175 | Franklin County SLF | OH | Grove City | Franklin | Public | Solid Waste Authority of Central Ohio, OH | 16700762 | 2011 | Yes | 6.8 | 0 | 200849-1 | Operational | Project #3, Expansion #1 | 2015-12-31 | High Btu | Upgraded LFG | pipeline quality gas is injected into nearby natural gas pipeline for sale to power company in CA | 4.4 | Columbia Gas of Ohio; Sacramento Municipal Utility District (SMUD) | Aria Energy | 0.3852 | 0.038
1003390 | 1977 | North Sanitary Landfill | OH | Dayton | Montgomery | Private | Waste Management, Inc. | 6150000 |  | Yes | 0.77 |  | 167062-0 | Operational | Combination Project | 2003-05-01 | High Btu | Upgraded LFG | gas processing equipment removes CO2 to produce methane meeting NG pipeline quality specifications; uses Kryosol Solvent technology | 2.672 | DTE Energy | DTE Biomass Energy | 0.2339 | 0.0231
1004856 | 1177 | Rumpke SLF, Inc. | OH | Cincinnati | Hamilton | Private | Rumpke | 36267372 | 2005 | Yes | 15 |  | 1251-0 | Operational | Project #1 | 1986-01-01 | High Btu | Upgraded LFG | LFG blended with NG for delivery to NG customers; Pretreatment: non-methane hydrocarbon removal via chilling & activated carbon absorption, 2 compressors driven by 700 HP electric motors, uses QuestAir pressure swing absorption technology | 6 | Duke Energy | GSF Energy; Montauk Energy Capital | 0.5253 | 0.0519
1004856 | 1177 | Rumpke SLF, Inc. | OH | Cincinnati | Hamilton | Private | Rumpke | 36267372 | 2005 | Yes | 15 |  | 1251-1 | Operational | Project #1, Expansion #1 | 1995-01-01 | High Btu | Upgraded LFG | LFG blended with NG for delivery to NG customers; Pretreatment: non-methane hydrocarbon removal via chilling & activated carbon absorption, 2 compressors driven by 700 HP electric motors, uses QuestAir pressure swing absorption technology | 3 | Duke Energy | GSF Energy; Montauk Energy Capital | 0.2626 | 0.0259
1004856 | 1177 | Rumpke SLF, Inc. | OH | Cincinnati | Hamilton | Private | Rumpke | 36267372 | 2005 | Yes | 15 |  | 1251-2 | Operational | Project #1, Expansion #2 | 2007-06-11 | High Btu | Upgraded LFG | LFG blended with NG for delivery to NG customers; Pretreatment: non-methane hydrocarbon removal via chilling & activated carbon absorption, 2 compressors driven by 700 HP electric motors, uses QuestAir pressure swing absorption technology | 6 | Duke Energy | GSF Energy; Montauk Energy Capital | 0.5253 | 0.0519
1007811 | 1941 | Stony Hollow Landfill Inc. | OH | Dayton | Montgomery | Private | Waste Management, Inc. | 7640845 | 2005 | Yes | 2.69 |  | 167062-0 | Operational | Combination Project | 2003-05-01 | High Btu | Upgraded LFG | gas processing equipment removes CO2 to produce methane meeting NG pipeline quality specifications; uses Kryosol Solvent technology | 2.672 | DTE Energy | DTE Biomass Energy | 0.2339 | 0.0231
1007624 | 1226 | Oklahoma City Landfill | OK | Oklahoma City | Oklahoma | Private | Waste Connections Inc. - Central Region | 10401150 |  | Yes |  |  | 1301-0 | Operational | Project #1 | 2008-05-01 | High Btu | Upgraded LFG | 3 mmscfd facility removes water, H2S, and organic compounds from the LFG, then removes CO2 in a 2-stage Air Liquide membrane separator | 2.02 | Westar Energy | Timberline Energy, LLC | 0.1768 | 0.0175
1001643 | 1288 | Greentree Landfill | PA | Kersey | Elk | Private | Advanced Disposal Services | 17407097 | 2009 | Yes | 10.08 |  | 1363-0 | Operational | Project #1 | 2007-07-01 | High Btu | Upgraded LFG | 7-mi pipeline transports high Btu gas (7,000 MMBtu/day, 2+Bcf/yr) for use in combined-cycle equipment to create RECs to satisfy RPS requirements, plant capacity is 15.12 mmscfd, cleaning: membrane technology, PSA and activated carbon pretreatment system | 3.6 | Conectiv Energy Supply, Inc. | American Exploration; enXco LFG Holdings, LLC | 0.3152 | 0.0311
1001643 | 1288 | Greentree Landfill | PA | Kersey | Elk | Private | Advanced Disposal Services | 17407097 | 2009 | Yes | 10.08 |  | 1363-1 | Operational | Project #1, Expansion #1 | 2008-01-01 | High Btu | Upgraded LFG |  | 4.8 | Conectiv Energy Supply, Inc. | American Exploration; enXco LFG Holdings, LLC | 0.4202 | 0.0415
1003103 | 1278 | Imperial Sanitary Landfill | PA | Imperial | Allegheny | Private | Republic Services, Inc. | 12890151 | 2010 | Yes | 10.3 | 6.1 | 1353-0 | Operational | Project #2 | 2007-09-01 | High Btu | Upgraded LFG | LFG processed to pipeline quality transported 3 miles to interstate pipeline, and used exclusively for electricity production | 4.2 | Conectiv Energy Supply, Inc. | enXco LFG Holdings, LLC | 0.3677 | 0.0363
1007586 | 1286 | Laurel Highlands LF | PA | Johnstown | Cambria | Private | Waste Management, Inc. | 5870124 | 2010 | Yes | 2.93 | 0 | 1357-0 | Operational | Project #1 | 2006-07-01 | High Btu | Upgraded LFG | Converted high Btu gas is 96.8% CH4 and has heating value of 970-982 Btu/scf; uses membrane technology; 1.8 mile pipeline to the NG pipeline | 2.93 | Peoples Natural Gas | Air Liquide-MEDAL; Leaf Clean Energy | 0.2565 | 0.0253
1007585 | 1280 | Monroeville LF | PA | Monroeville | Allegheny | Private | Waste Management, Inc. | 7808222 | 2010 | Yes | 3.87 |  | 1355-0 | Operational | Project #1 | 2004-10-29 | High Btu | Upgraded LFG |  | 2.48 | Equitable Gas Company | Montauk Energy Capital | 0.2171 | 0.0214
1002035 | 1298 | Seneca Landfill Inc. | PA | Evans City | Butler | Private | Vogel Disposal Service, Inc. | 5337252 | 2011 | Yes | 2.87 | 0 | 180833-0 | Operational | Project #2 | 2011-02-01 | High Btu | Upgraded LFG | ~1.5 mile pipeline to NG transmission line, Air Liquide membrane technology, delivers 970 Btu/scf gas | 2.68 | Peoples Natural Gas | Keystone Renewable Energy, LLC | 0.2346 | 0.0232
1007686 | 1282 | Shade Landfill | PA | Cairnbrook | Somerset | Private | Waste Management, Inc. | 7954742 | 2010 | Yes | 2.38 | 0 | 180815-0 | Operational | Combination Project | 2007-09-01 | High Btu | Upgraded LFG | 12-mi pipeline from Shade LF and 2.5-mi pipeline from Southern Alleghenies LF deliver 970 Btu gas; uses membrane technology; total delivery to pipeline from both landfills is 650,000 MMBtu/yr | 3.532 | Equitable Gas Company | Keystone Renewable Energy, LLC; Leaf Clean Energy | 0.3092 | 0.0305
1007691 | 1843 | South Hills Landfill | PA | Library | Allegheny | Private | Waste Management, Inc. | 3507270 | 2010 | Yes | 1.18 |  | 166422-0 | Operational | Project #1 | 2008-07-01 | High Btu | Upgraded LFG | PSA separation of gases by A.R.C., output of 991 MMBtu/day | 1.18 | Equitrans interstate pipeline | ARC Technologies Corporation | 0.1033 | 0.0102
1007718 | 1284 | Southern Alleghenies LF | PA | Davidsville | Somerset | Private | Waste Management, Inc. | 5885033 | 2010 | Yes | 2.88 | 0.864 | 180815-0 | Operational | Combination Project | 2007-09-01 | High Btu | Upgraded LFG | 12-mi pipeline from Shade LF and 2.5-mi pipeline from Southern Alleghenies LF deliver 970 Btu gas; uses membrane technology; total delivery to pipeline from both landfills is 650,000 MMBtu/yr | 3.532 | Equitable Gas Company | Keystone Renewable Energy, LLC; Leaf Clean Energy | 0.3092 | 0.0305
1007718 | 1284 | Southern Alleghenies LF | PA | Davidsville | Somerset | Private | Waste Management, Inc. | 5885033 | 2010 | Yes | 2.88 | 0.864 | 180815-1 | Operational | Combination Project - Expansion #1 | 2008-04-01 | High Btu | Upgraded LFG | 2.5-mile pipeline delivers 970 Btu gas; uses membrane technology; total delivery to pipeline from both landfills is 650,000 MMBtu/yr | 0.864 | Equitable Gas Company | Keystone Renewable Energy, LLC; Leaf Clean Energy | 0.0756 | 0.0075
1007692 | 1285 | Valley LF | PA | Irwin | Westmoreland | Private | Waste Management, Inc. | 5921742 | 2010 | Yes | 2.67 |  | 1360-0 | Operational | Project #1 | 2004-02-27 | High Btu | Upgraded LFG |  | 1.37 | Equitrans interstate pipeline | Montauk Energy Capital | 0.1199 | 0.0118
1002649 | 1452 | Carter Valley Landfill | TN | Church Hill | Hawkins | Private | Republic Services, Inc. | 12723765 | 2005 | Yes | 1.58 |  | 1528-0 | Operational | Project #1 | 2009-04-01 | High Btu | Upgraded LFG | 2.5-mile pipeline to existing NG pipeline; uses membrane technology | 1.44 | Eastman Chemical Company | TenGasCo | 0.1261 | 0.0124
1003269 | 1411 | Meadow Branch Landfill | TN | Athens | McMinn | Private | Waste Connections, Inc. |  |  | Yes |  |  | 1487-0 | Operational | Project #1 | 2011-09-28 | High Btu | Upgraded LFG | 9.5-mile, 4-inch steel pipeline delivers ~1,000 MMBtu/day initially; refrigeration, PSA, carbon filtration, membrane separation, Air Liquide-Medal Biogaz System clean LFG to pipeline quality standards | 2.5 | Spectra Energy Transmission | Renewco LLC | 0.2189 | 0.0216
1006303 | 1327 | North Shelby Landfill | TN | Millington | Shelby | Private | Republic Services, Inc. | 5500000 | 2001 | Yes | 2.79 |  | 1403-0 | Operational | Project #1 | 2014-09-30 | High Btu | Upgraded LFG | Plant is anticipated to produce ~4 million diesel GGE of renewable natural gas fuel annually, steadily increasing to more than 5.7 million diesel GGE annually during the first 10 years of operations |  | Memphis Light, Gas and Water (MLGW) | Clean Energy Renewable Fuels | 0 | 0
1002321 | 12101 | Fort Bend Regional Landfill | TX | Needville | Fort Bend | Private | WCA Waste Corporation | 7000000 | 2013 | Yes | 2.45 |  | 181097-0 | Operational | Project #1 | 2013-06-02 | High Btu | Upgraded LFG | Physical solvent process with patented enhancements and catalytic oxygen removal to remove CO2, H2O, H2S, siloxanes, and other impurities from LFG; gas used down the pipeline for vehicle fuel | 2.45 | GHI Energy | Enerdyne Power Systems, Inc.; Morrow Renewables, LLC | 0.2145 | 0.0212
1005895 | 1503 | Greenwood Farms Landfill | TX | Tyler | Smith | Public | City of Tyler, TX | 5500000 | 2008 | Yes | 2.304 |  | 1580-0 | Operational | Project #1 | 2009-04-22 | High Btu | Upgraded LFG | Physical solvent process with patented enhancements to remove CO2, H2O, H2S, siloxanes, and other impurities from LFG; gas used down the pipeline for vehicle fuel | 2.304 | Gulf South Pipeline | Morrow Renewables, LLC | 0.2017 | 0.0199
1006465 | 1485 | IESI Turkey Creek Landfill | TX | Alvarado | Johnson | Private | Progressive Waste Solutions Ltd. | 11022493 | 2013 | Yes | 1.92 |  | 1562-0 | Operational | Project #1 | 2012-09-30 | High Btu | Upgraded LFG | Physical solvent process with patented enhancements and catalytic oxygen removal - removes CO2, H2O, H2S, siloxanes, and other impurities from LFG; gas is transported and sold into adjoining natural gas pipeline | 1.87 | Shell Energy North America | Morrow Renewables, LLC | 0.1637 | 0.0162
1006899 | 1465 | McCarty Road LF | TX | Houston | Harris | Private | Republic Services, Inc. | 28918718 | 1998 | Yes |  |  | 1542-0 | Operational | Project #1 | 1986-03-01 | High Btu | Upgraded LFG | Selexol process is used to separate CO2 and CH4 | 9.7 |  | Montauk Energy Capital | 0.8492 | 0.0838
1006899 | 1465 | McCarty Road LF | TX | Houston | Harris | Private | Republic Services, Inc. | 28918718 | 1998 | Yes |  |  | 1542-1 | Operational | Project #1, Expansion #1 | 2005-01-01 | High Btu | Upgraded LFG |  | 5.3 |  | Montauk Energy Capital | 0.464 | 0.0458
1006817 | 1459 | McCommas Bluff Landfill | TX | Dallas | Dallas | Public | City of Dallas, TX | 40000000 | 2013 | Yes |  |  | 1535-0 | Shutdown | Project #1 | 2000-01-01 | High Btu | Upgraded LFG | original gas cleaning equipment included: SulfaTreat, temperature swing adsorption (TSA), pressure swing adsorption (PSA) for CO2 removal, and thermal oxidizer | 5.45 | Atmos Energy Corporation | Dallas Landfill Gas Production LLC | 0 | 0
1006817 | 1459 | McCommas Bluff Landfill | TX | Dallas | Dallas | Public | City of Dallas, TX | 40000000 | 2013 | Yes |  |  | 1535-1 | Shutdown | Project #1, De-Expansion #1 | 2007-01-01 | High Btu | Upgraded LFG | original gas cleaning equipment included: SulfaTreat, temperature swing adsorption (TSA), pressure swing adsorption (PSA) for CO2 removal, and thermal oxidizer | 2.8 | Atmos Energy Corporation | Dallas Landfill Gas Production LLC | 0 | 0
1006817 | 1459 | McCommas Bluff Landfill | TX | Dallas | Dallas | Public | City of Dallas, TX | 40000000 | 2013 | Yes |  |  | 1535-2 | Operational | Project #1, Expansion #1 | 2008-01-01 | High Btu | Upgraded LFG |  | 7 | Sacramento Municipal Utility District (SMUD); Shell Energy North America | Cambrian Energy Development LLC; Clean Energy Renewable Fuels | 0.6128 | 0.0605
1006817 | 1459 | McCommas Bluff Landfill | TX | Dallas | Dallas | Public | City of Dallas, TX | 40000000 | 2013 | Yes |  |  | 1535-3 | Operational | Project #1, Expansion #2 | 2012-01-01 | High Btu | Upgraded LFG |  | 3 | Sacramento Municipal Utility District (SMUD); Shell Energy North America | Cambrian Energy Development LLC; Clean Energy Renewable Fuels | 0.2626 | 0.0259
1006817 | 1459 | McCommas Bluff Landfill | TX | Dallas | Dallas | Public | City of Dallas, TX | 40000000 | 2013 | Yes |  |  | 1535-4 | Operational | Project #1, Expansion #3 | 2014-01-01 | High Btu | Upgraded LFG | Facility capacity: inlet 15.5 mmscfd raw LFG is capable of producing 9,000 MMBtu/day of renewable natural gas; the RNG is predominantly used to produce renewable electric power by a municipal utility in California | 2.5 | Sacramento Municipal Utility District (SMUD); Shell Energy North America | Cambrian Energy Development LLC; Clean Energy Renewable Fuels | 0.2189 | 0.0216
1007822 | 1606 | Cedar Hills Regional LF | WA | Maple Valley | King | Public | King County Solid Waste Division, WA | 33000000 | 2010 | Yes | 18.7 | 8.1 | 1685-0 | Operational | Project #1 | 2010-10-01 | High Btu | Upgraded LFG | membrane technology cleans LFG to pipeline quality, some waste gas from the process generates 4-5 MW of electricity via (18) 300-kW Detroit Diesel engines, the electricity powers the treatment system, ~4,500 cfm of high Btu gas is created | 10.6 | Puget Sound Energy | Bio Energy Washington, LLC (BEW) | 0.9279 | 0.0916
1007822 | 1606 | Cedar Hills Regional LF | WA | Maple Valley | King | Public | King County Solid Waste Division, WA | 33000000 | 2010 | Yes | 18.7 | 8.1 | 1685-1 | Operational | Project #1, Expansion #1 | 2013-01-01 | High Btu | Upgraded LFG | 12 mmscfd LFG processed by BEW plant in 2013 | 1.4 | Puget Sound Energy | Bio Energy Washington, LLC (BEW) | 0.1226 | 0.0121
1006096 | 1660 | Dane County LF #2-Rodefeld | WI | Madison | Dane | Public | Dane County Public Works, WI | 4029904 | 2008 | Yes | 2.3 |  | 181070-0 | Operational | Project #2 | 2011-03-18 | Renewable CNG | Upgraded LFG | 1-yr demo project, remove moisture, H2S, VOC/siloxanes, and CO2, BioCNG product is 90% methane, 20 cfm LFG produces 100 gallons of gasoline equivalent per day (GGE/day), fueling site vehicles | 0.03 | Dane County Public Works, WI | Dane County Public Works, WI | 0.0026 | 0.0004
1006096 | 1660 | Dane County LF #2-Rodefeld | WI | Madison | Dane | Public | Dane County Public Works, WI | 4029904 | 2008 | Yes | 2.3 |  | 181070-1 | Operational | Project #2, Expansion #1 | 2013-06-01 | Renewable CNG | Upgraded LFG | Expanded project, now produce 250 GGE/day from 50 cfm LFG | 0.04 | Dane County Public Works, WI | Dane County Public Works, WI | 0.0035 | 0.0005
Note on A1: GHGRP ID corresponds to the 7-digit Facility Identifier assigned to facilities required to report under EPA's Greenhouse Gas Reporting Program
Note on B1: Unique identifying number for each landfill
Note on C1: Landfill name
Note on D1: State landfill is located in
Note on E1: City landfill is located in or near
Note on F1: County landfill is located in
Note on G1: Indicates if landfill is publicly owned, privately owned, or co-owned by public and private entities
Note on H1: Organization that owns the landfill
Note on I1: Waste-in-place at the landfill in short tons
Note on J1: Year corresponding to the waste-in-place at the landfill (YYYY)
Note on K1: Is there a landfill gas collection system in place? 'Yes' for an active GCCS; 'No' if landfill has no gas collection system, is passively venting/flaring, or has perimeter gas wells.
Note on L1: Amount of landfill gas being collected in million standard cubic feet per day
Note on M1: Amount of landfill gas flared (if project is operational, amount of landfill gas flared in back-up flare(s)) in million standard cubic feet per day
Note on N1: Unique identifying number combination for "parent" project and "expansion" number
Note on O1: Current project status (Operational, Construction, Planned, Shutdown, Candidate, Potential, Other)
Note on P1: Specific project name (if applicable)
Note on Q1: Date project became operational (MM/DD/YYYY)
Note on R1: Specific type of LFG energy project technology
Note on S1: Category of LFG energy project type (Electricity, Direct, Upgraded LFG)
Note on T1: Details about the specific use of landfill gas in the project
Note on U1: Amount of landfill gas flowing to project or that will flow to the project when it becomes operational in million standard cubic feet per day
Note on V1: Name of end user organization
Note on W1: Name of project developer organization
Note on X1: Direct methane reductions by the energy project for the current year
Note on Y1: Avoided carbon dioxide emission reductions by the energy project for the current year

## Field Descriptions
Field Name | Description
GHGRP ID | GHGRP ID corresponds to the 7-digit Facility Identifier assigned to facilities required to report under EPA's Greenhouse Gas Reporting Program
Landfill ID | Unique identifying number for each landfill
Landfill Name | Landfill name
State | State landfill is located in
City | City landfill is located in or near
County | County landfill is located in
Ownership Type | Indicates if landfill is publicly owned, privately owned, or co-owned by public and private entities
Landfill Owner Organization(s) | Organization that owns the landfill
Waste in Place (tons) | Waste-in-place at the landfill in short tons
Waste in Place Year | Year corresponding to the waste-in-place at the landfill (YYYY)
LFG Collection System In Place? | Is there a landfill gas collection system in place? 'Yes' for an active GCCS; 'No' if landfill has no gas collection system, is passively venting/flaring, or has perimeter gas wells.
LFG Collected (mmscfd) | Amount of landfill gas being collected in million standard cubic feet per day
LFG Flared (mmscfd) | Amount of landfill gas flared (if project is operational, amount of landfill gas flared in back-up flare(s)) in million standard cubic feet per day
Project ID | Unique identifying number combination for "parent" project and "expansion" number
Current Project Status | Current project status (Operational, Construction, Planned, Shutdown, Candidate, Potential, Other)
Project Name | Specific project name (if applicable)
Project Start Date | Date project became operational (MM/DD/YYYY)
LFG Energy Project Type | Specific type of LFG energy project technology
Project Type Category | Category of LFG energy project type (Electricity, Direct, Upgraded LFG)
LFG Use Details | Details about the specific use of landfill gas in the project
LFG Flow to Project (mmscfd) | Amount of landfill gas flowing to project or that will flow to the project when it becomes operational in million standard cubic feet per day
End User(s) | Name of end user organization
Project Developer(s) | Name of project developer organization
Current Year Emission Reductions (MMTCO2e/yr) - Direct | Direct methane reductions by the energy project for the current year
Current Year Emission Reductions (MMTCO2e/yr) - Avoided | Avoided carbon dioxide emission reductions by the energy project for the current year